| Subject Code 22PC1CE103 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. I Year II Semester Regular Examinations, July 2024

BUILDING CONSTRUCTION AND PLANNING

(CE)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | List out any four elements of a building. | 2M | CO-1 | BL-2 |
| --- | --- | --- | --- | --- |
|  | Define shoring and underpinning. | 2M | CO-1 | BL-1 |
|  | Define trap and list any two types. | 2M | CO-2 | BL-1 |
|  | List out any four-construction equipment. | 2M | CO-3 | BL-2 |
|  | Define Green Building. | 2M | CO-4 | BL-1 |

PART-B

5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) Describe in brief about different types of damp proof course. | 5M | CO-1 | BL-2 |
|  | b) Discuss any two types of foundation. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | a) Explain in detail about various load bearing and non-load bearing walls. b) Discuss any two types of stair cases. | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| UNIT-II |  |  |  |  |
| 3. | - Explain in brief about any three types scaffolding. | 5M | CO-1 | BL-2 |
|  | - Discuss in brief about any three types of plastering. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 4. | a) Explain in detail about English and Flemish bonds. b) List different types of stone masonry and explain in detail. | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| UNIT-III |  |  |  |  |
| 5. | - Enumerate different types of ventilation and their requirements. | 5M | CO-2 | BL-2 |
|  | - Explain in brief about various fire protection methods. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 6. | Illustrate the types of water distribution systems for a building with a neat sketch. | 10M | CO-2 | BL-4 |
| UNIT-IV |  |  |  |  |
| 7. | Explain in detail about various earth compaction equipment. | 10M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 8. | Discuss in detail about concrete mixers and vibrators. | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | Write in detail about classification of buildings as per NBC. | 10M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 10. | Discuss in detail about the Green Building Rating systems. | 10M | CO-4 | BL-3 |

***