| Subject Code 22PC1IN201 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. II Year II Semester Regular Examinations, July 2024

SENSORS AND DEVICES

(CSE-IoT)

Time: 3 hours                                                                                 		               Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					     5X2=10M

|  | Identify types of errors in measurement. | 2M | CO-1 | BL-2 |
| --- | --- | --- | --- | --- |
|  | What is the purpose of frequency counter in sensor interfacing? | 2M | CO-2 | BL-1 |
|  | How does a programmable gain amplifier work in signal conditioning. | 2M | CO-3 | BL-3 |
|  | What is meant by compensation in smart sensors. | 2M | CO-4 | BL-1 |
|  | What is the use of SPI and I2C interfaces on Raspberry Pi. | 2M | CO-5 | BL-2 |

PART-B					           5X10=50M

| UNIT-1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | What is meant by error analysis? Explain statistical methods of error analysis with example. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
| 2. | - Differentiate between electrical and mechanical actuators with examples. | 5M | CO-1 | BL-4 |
|  | - Describe the working of a solenoid and its applications. | 5M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |  |
| 3. | Demonstrate a case to develop an interface between DHT-11 sensor and a microcontroller using SPI interface. Also suggest a suitable code to print the sensory data on to a serial port. | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |  |
| 4. | Explain the significance of PWM generation and demodulation in sensor interfacing with suitable signal flow across the design. Also provide a practical example illustrating its application in electronic systems. | 10M | CO-2 | BL-3 |
| UNIT-III |  |  |  |  |  |
| 5. | Describe the working of three op-amps based instrumentation amplifier and its significance in signal conditioning and also estimate its gain. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
| 6. | Summarize the function of single channel and multi-channel data acquisition with block diagram. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | Describe with the help of diagram how the primary sensors are integrated with signal processing ensembles. | 10M | CO-4 | BL-3 |
| OR |  |  |  |  |  |
| 8. | - How is information coded and processed in smart sensors? | 5M | CO-4 | BL-3 |
|  | - Discuss the standards for smart sensor interfaces and there importance in automation. | 5M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |  |
| 9. | - What are the basic building blocks of an IOT device? Explain. | 5M | CO-5 | BL-2 |
|  | - Briefly discuss about the peripherals of Raspberry Pi. | 5M | CO-5 | BL-2 |
| OR |  |  |  |  |  |
| 10. | Walk through the steps involved in connecting and controlling a bipolar stepper motor using Arduino. Provide a basic code example. | 10M | CO-5 | BL-4 |

***