| Subject Code A19PC1EI07 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, January 2024

BIO MEDICAL INSTRUMENTATION

(EIE)

Time: 3 hours                                                                                 		      		Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

5X2=10M

|  | State the Properties of Cell Membrane Action Potentials. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Label out the different types of bio potential electrodes. | 2M | CO-2 | BL-1 |
|  | Draw Einthoven Triangle and mark various lead configurations. | 2M | CO-2 | BL-2 |
|  | List the Applications of MRI. | 2M | CO-4 | BL-1 |
|  | Discuss the advantages of Ultrasonic Imaging System. | 2M | CO-4 | BL-2 |

PART-B

6X10=60M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Explain in detail the ‘cell action potential and resting potential’ with the help of typical waveform. | 10M | CO-1 | BL-4 |
| OR |  |  |  |  |
|  | Discuss the problems encountered in measuring a living system | 10M | CO-1 | BL-4 |
| UNIT-2 |  |  |  |  |
|  | Explain briefly a) pH Electrodes b) Blood gas Electrodes | 5M 5M | CO-2 CO-2 | BL-2 BL-2 |
| OR |  |  |  |  |
|  | Discuss short notes on a) Body surface recording electrodes b) Micro electrodes. | 5M 5M | CO-2 CO-2 | BL-2 BL-2 |
| UNIT-3 |  |  |  |  |
|  | Explain the mechanical activities of Heart with block diagram. | 10M | CO-3 | BL-2 |
| OR |  |  |  |  |
|  | a) Discuss any one method to measure Blood Pressure Measurement. b) Explain any one method to measure Blood Flow Measurement. | 5M 5M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-4 |  |  |  |  |
|  | Explain EEG Electrode placement system with block diagram in detail. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | State EEG band of frequencies. Explain the correction analysis of EEG Channels done. | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |
| UNIT-5 |  |  |  |  |
|  | Explain the mechanism of Respiration and operation of Spirometer to measure the Lung Volumes and Capacity Parameters. | 10M | CO-5 | BL-3 |
| OR |  |  |  |  |
|  | Discuss briefly on a) Pacemakers. b) Defibrillators. | 5M 5M | CO-5 CO-5 | BL-3 BL-3 |
| UNIT-6 |  |  |  |  |
|  | Explain the working Principles of CT Scan & MRI Imaging Techniques with block diagrams. | 10M | CO-6 | BL-2 |
| OR |  |  |  |  |
|  | a) Explain the basic operation of Positron Emission Tomography. b) Explain the modes of Ultrasonic Imaging System. | 5M 5M | CO-6 CO-6 | BL-2 BL-2 |

***