| Subject Code A19PE1ME01 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, January 2024

NON-CONVENTIONAL ENERGY SOURCE

(ME)

Time: 3 hours                                                                                 		      		Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

5X2=10M

|  | Define renewable energy and its significance in today's energy landscape. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is solar distillation? | 2M | CO-1 | BL-1 |
|  | Mention one region known for its high potential in wind energy production. | 2M | CO-2 | BL-1 |
|  | State one advantage of bio-gas combustion over traditional fuels in terms of emissions. | 2M | CO-3 | BL-4 |
|  | Discuss the role of dissociation and ionization in MHD technology. | 2M | CO-4 | BL-2 |

PART-B

6X10=60M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Evaluate the scientific principles underpinning renewable energy. Choose two renewable sources and detail the scientific principles governing their conversion into usable energy. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | a) Discuss two significant environmental considerations related to the deployment of solar energy technologies. b) Differentiate between extraterrestrial and terrestrial solar radiation. | 5M 5M | CO-1 CO-1 | BL-1 BL-1 |
| UNIT-2 |  |  |  |  |
|  | a) Compare and contrast flat plate collectors and concentrating collectors used in solar energy systems. b) Discuss the importance of orientation in solar collectors and the thermal analysis involved. | 5M 5M | CO-2 CO-2 | BL-2 BL-2 |
| OR |  |  |  |  |
|  | Explain the different methods utilized for solar energy storage. Compare sensible, latent heat, and stratified storage methods, outlining their applications and advantages. | 10M | CO-2 | BL-2 |
| UNIT-3 |  |  |  |  |
|  | Mention the performance characteristics of wind turbines in detail. What factors influence their performance and how are these characteristics measured and evaluated? | 10M | CO-3 | BL-2 |
| OR |  |  |  |  |
|  | State the methods employed to harness geothermal energy in detail. Discuss the technologies involved in converting geothermal heat into usable energy. | 10M | CO-3 | BL-2 |
| UNIT-4 |  |  |  |  |
|  | Compare and contrast anaerobic and aerobic digestion processes in biomass. Highlight the differences in their mechanisms and applications. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | Explain the combustion characteristics of bio-gas. Discuss its composition and properties that make it suitable as a fuel for combustion. | 10M | CO-4 | BL-2 |
| UNIT-5 |  |  |  |  |
|  | Explore the thermodynamic cycles used in OTEC plants. Compare and contrast the working principles of closed and open cycle OTEC systems. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | Discuss the techniques employed in converting tidal energy into electricity. How are tidal movements transformed into usable power? | 10M | CO-4 | BL-2 |
| UNIT-6 |  |  |  |  |
|  | Define and discuss Seebeck, Peltier, and Joule-Thomson effects in the context of thermo-electric conversion. | 10M | CO 4 | BL-2 |
| OR |  |  |  |  |
|  | Elaborate the fundamental principles of Fuel Cells. Discuss Faraday's laws and their application in fuel cell technology. | 10M | CO-4 | BL-2 |

***