| Subject Code A19OE1EE01 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, January 2024

RENEWABLE ENERGY SOURCES

(Open Elective)

Time: 3 hours                                                                                 		      	       Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

5X2=10M

|  | Differentiate between extraterrestrial and terrestrial solar radiation. | CO- | BL- |
| --- | --- | --- | --- |
|  | How is the performance of solar heating devices evaluated in terms of their efficiency? | CO- | BL- |
|  | Define open circuit voltage and short circuit current in the context of a PV system. | CO- | BL- |
|  | List two parameters used to evaluate the efficiency and output of a wind turbine system. | CO- | BL- |
|  | Name one type of biomass material suitable for anaerobic digestion and aerobic digestion. | CO- | BL- |

PART-B

5X10=50M

| UNIT-1 |  |  |  |
| --- | --- | --- | --- |
| 1. | Explain the role of solar energy as a renewable source and its potential in the context of addressing global energy needs. Provide examples of how solar energy can be harnessed in different applications. | CO- | BL- |
| OR |  |  |  |
| 2. | Detail the instruments used for measuring solar radiation and sunshine. Discuss their principles of operation and their applications in assessing solar energy potential in different geographical locations. | CO- | BL- |
| UNIT-2 |  |  |  |
| 3. | Analyze the evaluation methods employed to determine the performance of solar collectors. Discuss how factors like efficiency, temperature rise, and heat transfer coefficient are measured and assessed. | CO- | BL- |
| OR |  |  |  |
| 4. | Discuss concentrating systems used in solar power generation. Explain the role of mirrors or lenses in concentrating sunlight and the mechanisms involved in converting heat into electricity in these systems. | CO- | BL- |
| UNIT-3 |  |  |  |
| 5. | Explain the functioning and structure of a PV cell. Compare and contrast crystalline solar cells with thin-film solar cells in terms of their construction, efficiency and applications. | CO- | BL- |
| OR |  |  |  |
| 6. | Explain the influence of sun angle on the performance of a PV system. How does the angle of incidence affect the amount of solar radiation absorbed by PV panels? | CO- | BL- |
| UNIT-4 |  |  |  |
| 7. | Compare and contrast horizontal and vertical axis windmills in terms of their design, efficiency and practical applications in harnessing wind energy. | CO- | BL- |
| OR |  |  |  |
| 8. | Detail the process of achieving peak power operation in wind turbines. What measures are taken to ensure maximum power output under varying wind conditions? | CO- | BL- |
| UNIT-5 |  |  |  |
| 9. | Detail the various types of bio-gas digesters used in biomass conversion. Discuss their designs, functionalities, and efficiency in producing biogas. | CO- | BL- |
| OR |  |  |  |
| 10. | Explore the utilization of bio-gas for cooking purposes. Explain the methods used to harness bio-gas for cooking and the advantages it offers compared to conventional cooking fuels. | CO- | BL- |
| UNIT-6 |  |  |  |
| 11. | Discuss the methods used to harness geothermal energy. Briefly outline the processes involved in extracting and utilizing geothermal energy for power generation. | CO- | BL- |
| 12. | Assess the economic aspects of mini-hydel power plants in harnessing tidal and wave energy. What are the key factors influencing the economic viability of these energy conversion techniques? | CO- | BL- |

***