| Subject Code A19PE1EE02 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, January 2024

RENEWABLE ENERGY SYSTEMS

(EEE)

Time: 3 hours                                                                                 		      		Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

5X2=10M

|  | What is shadow effect in solar cells? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define the harmonic problem encountered in solar PV power conditioning. | 2M | CO-1 | BL-1 |
|  | What are the advantages of induction generators in wind energy conversion systems. | 2M | CO-2 | BL-1 |
|  | Name one power conditioning scheme used in self-excited induction generators. | 2M | CO-3 | BL-1 |
|  | List the advantages of Superconducting Magnetic Storage Systems. | 2M | CO-2 | BL-1 |

PART-B

6X10=60M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Describe solar cells and their characteristics. Differentiate between various types of solar cells and highlight their unique features and efficiency. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | Explain the photovoltaic energy conversion system with neat sketch. | 10M | CO-1 | BL-2 |
| UNIT-2 |  |  |  |  |
|  | Outline the maximum power point tracking (MPPT) algorithms used in solar PV systems. How do these algorithms ensure maximum power extraction from solar panels under varying conditions? | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | Describe AC power conditioners in the context of solar PV systems. What role do they play in converting DC power generated by solar panels into AC power suitable for grid supply? | 10M | CO-1 | BL-2 |
| UNIT-3 |  |  |  |  |
|  | Discuss the nature of wind and its variability. What factors influence the speed, direction and consistency of wind, impacting wind energy conversion systems? | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
|  | Classify wind energy conversion systems (WECS) based on their configurations or design. Highlight the differences between various classifications and their suitability for different environments. | 10M | CO-2 | BL-2 |
| UNIT-4 |  |  |  |  |
|  | Discuss the capacitance requirements in a self-excited induction generator. What role does capacitance play in achieving and maintaining self-excitation? | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
|  | Describe the concept of grid connectors in the context of wind energy. How do these connectors facilitate the integration of wind energy systems into the grid? | 10M | CO-2 | BL-2 |
| UNIT-5 |  |  |  |  |
|  | Explain the working principles and characteristics of Lead-Acid Batteries. What are the advantages and limitations of using Lead-Acid Batteries for energy storage? | 10M | CO-3 | BL-2 |
| OR |  |  |  |  |
|  | Detail the working mechanism and benefits of Compressed Air Energy Storage. What are the challenges associated with this storage method? | 10M | CO-3 | BL-2 |
| UNIT-6 |  |  |  |  |
|  | Discuss the steps involved in the process of storage sizing. What considerations and factors are taken into account when determining the size of an energy storage system? | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | Explain the estimation process involved in daily residential load assessment. How is the daily energy demand of a household calculated and why is it crucial in energy storage planning? | 10M | CO-3 | BL-2 |

***