| Subject Code A19OE1EE05 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, January 2024

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                                 		             Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

5X2=10M

|  | Define Solar constant. | 2M | CO-2 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What are the factors determining the output from a wind energy converter? | 2M | CO-2 | BL-1 |
|  | What is the principle of Bio conversion? | 2M | CO-3 | BL-2 |
|  | Draw the schematic diagram of vapour dominated power plant. | 2M | CO-3 | BL-2 |
|  | What are the different types of energy storage schemes available? | 2M | CO-4 | BL-2 |

PART-B

6X10=60M

| UNIT-1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | a) Describe briefly the conventional and non-conventional energy sources. b) Differentiate the primary and secondary energy sources. | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | a) Explain the non-conventional energy conversion status in India. b) What are the advantages and limitations of renewable energy sources? | 5M 5M | CO-1 CO-1 | BL-2 BL-1 |
| UNIT-2 |  |  |  |  |  |
|  | a) Explain in detail about extra-terrestrial and terrestrial radiation. b) Describe the spectral power distribution of solar radiation. | 5M 5M | CO-2 CO-2 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | a) Describe the principle of solar energy conversion. b) Explain how the variation of insolation and temperature affects the I-V characteristics of a solar cell. | 5M 5M | CO-2 CO-2 | BL-2 BL-2 |
| UNIT-3 |  |  |  |  |  |
|  | Describe the working principle and construction of HAWT. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
|  | a) What are the advantages of vertical axis machines over horizontal type? Describe a rotor for relatively low velocity wind. b) Prove that in case of horizontal axis wind turbine maximum power can be obtained when the Exit velocity is half if wind velocity | 5M 5M | CO-2 CO-2 | BL-2 BL-3 |
| UNIT-4 |  |  |  |  |  |
|  | a) Explain the variety of technologies for manufacturing premium fuels from biomass. b) What is the photosynthetic effect? Explain briefly? | 7M 3M | CO-3 CO-3 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | a) Mention the factors affecting bio-digestion. Explain briefly. b) How Bio-Gas energy is used in IC engines? | 5M 5M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-5 |  |  |  |  |  |
|  | a) Describe the methods of harnessing geothermal energy. b) Describe the conversion techniques of tidal power. | 5M 5M | CO-3 CO-3 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | a) Comment on the origin and distribution of geothermal energy. b) Describe the closed cycle OTEC system. Mention its advantages and disadvantages. | 3M 7M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-6 |  |  |  |  |  |
|  | a) Describe the operation of lead-acid cell. b) Explain the Compressed air energy storage with its schematic diagram. | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | a) Briefly explain the different energy storage methods. b) Draw the schematic of an underground pumped hydro storage system and explain. | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |

***