| Subject Code A19PE1EI06 |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular Examinations, July 2024

BIO MEDICAL EQUIPMENT

(EIE)

Time: 3 hours                                                                                			  Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | What are critical physiological parameters? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What distinguishes a synchronous pacemaker from an asynchronous pacemaker? | 2M | CO-2 | BL-2 |
|  | List one feature of implantable defibrillators. | 2M | CO-3 | BL-1 |
|  | What is the purpose of artificial ventilation? | 2M | CO-4 | BL-1 |
|  | What is the importance of Ophthalmoscope? | 2M | CO-3 | BL-1 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Discuss the layout and design considerations for a hospital power distribution system, including the use of isolators. | 10M | CO-1 | BL-3 |
| OR |  |  |  |  |
|  | a) Discuss the safety aspects for power distribution to hospital? b) Discuss the importance of power factor improvement in a hospital's power distribution system. | 5M 5M | CO-1 CO-1 | BL-2 BL-3 |
| UNIT-II |  |  |  |  |
|  | Describe the design and importance of lead wires and electrodes in an implantable pacemaker. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | a) Describe the working principle and block diagram of an asynchronous pacemaker. b) Discuss the different modes of triggering in a synchronous/demand pacemaker. | 5M 5M | CO-2 CO-2 | BL-3 BL-3 |
| UNIT-III |  |  |  |  |
|  | Explain the operation and benefits of automatic/advisory external defibrillators (AED). | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | a) Describe the working principle and importance of a DC defibrillator. b) Compare and contrast the use of external and implantable defibrillators in clinical practice. | 5M 5M | CO-3 CO-3 | BL-1 BL-4 |
| UNIT-IV |  |  |  |  |
|  | Describe the features and benefits of modern ventilators, including high-frequency ventilators. | 10M | CO-3 | BL-1 |
| OR |  |  |  |  |
|  | a) Discuss the functional details and differences between bubble, thin film, and membrane-type blood oxygenators. b) Explain the principles and techniques of impedance pneumography for respiratory measurements. | 5M 5M | CO-3 CO-3 | BL-4 BL-1 |
| UNIT-V |  |  |  |  |
|  | Describe the monitoring circuits used in hemodialysis machines and their significance. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | a) Describe the different types of dialyzers used in hemodialysis and their respective functions. b) Describe the working mechanism and clinical uses of microwave diathermy. | 5M 5M | CO-4 CO-3 | BL-3 BL-1 |
| UNIT-VI |  |  |  |  |
|  | Analyze the differences between Electrooculography (EOG) and Electroretinography (ERG) in terms of their methodologies and clinical applications. | 10M | CO-4 | BL-4 |
| OR |  |  |  |  |
|  | a) Explain the purpose and procedure of using a retinoscopy in eye examinations. b) Discuss the different types of intraocular pressure measurement methods and their respective advantages and disadvantages. | 5M 5M | CO-3 CO-4 | BL-2 BL-3 |

***