| Subject Code A19OE1EE02 |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular Examinations, July 2024

RENEWABLE ENERGY TECHNOLOGIES

(Open Elective)

Time: 3 hours                                                                                 		      	      Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A                 				 5X2=10M

|  | What are the Potential Hazards in production of PV cell. | 2M | CO-3 | BL-1 |
| --- | --- | --- | --- | --- |
|  | List types of fuel cells | 2M | CO-2 | BL-1 |
|  | What are hydrogen safety factors . | 2M | CO-3 | BL-1 |
|  | Mention the basic switching devices. | 2M | CO-2 | BL-1 |
|  | What is the purpose of variable step size algorithm. | 2M | CO-2 | BL-1 |

PART-B                 				 6X10=60M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | How a PV cell is formed and briefly describe about PV modules and PV generators. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
|  | - Explain open-circuit voltage and short-circuit current of Solar cell. - What are shadow effects and how to eliminate it. | 6M 4M | CO-1 CO-1 | BL-2 BL-2 |
| UNIT-II |  |  |  |  |  |
|  | Illustrate the stand-alone system approach in designing an off -grid PV system with battery. | 10M | CO-1 | BL-3 |
| OR |  |  |  |  |  |
|  | Explain the concept of Net-metering and explain the design steps involved for the requirements of solar water pumping. | 10M | CO-1 | BL-2 |
| UNIT-III |  |  |  |  |  |
|  | Discuss in detail about battery chargers and mention about gird interface conditions. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
|  | Illustrate the basic operation of a DC-DC converters in detail. | 10M | CO-2 | BL-3 |
| UNIT-IV |  |  |  |  |  |
|  | Analyze Perturb and Observe method and write the pseudo code for P&O method and advanced issues in it. | 10M | CO-2 | BL- 3 |
| OR |  |  |  |  |  |
|  | - Explain Various sources of losses is PV system in detail. b) Illustrate the Maximum Power Point Tracking (MPPT) and what is the role of DC-DC converter in tracking MPP. | 5M 5M | CO-2 CO-2 | BL-2 BL-3 |
| UNIT-V |  |  |  |  |  |
|  | Describe the principle and operation of fuel cell model and define power and efficiency of a fuel cell. | 10M | CO-3 | BL- 3 |
| OR |  |  |  |  |  |
|  | - Explain about the importance of fuel cells in the context of present energy requirements and energy resources. - Illustrate various storage systems for Hydrogen and its applications. | 5M 5M | CO-3 CO-3 | BL-2 BL-3 |
| UNIT-VI |  |  |  |  |  |
|  | Illustrate in detail the procedure for decommissioning of a PV plant. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
|  | Write short notes on the following. - Sterling engine. - Solar chimney. | 10M | CO-3 | BL-2 |

***