| Subject Code A19PC1EI09 |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular Examinations, July 2024

VIRTUAL INSTRUMENTATION

(EIE)

Time: 3 hours                                                                                 		      	     Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | List different data types in the LabVIEW. | 2M | CO-2 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is the value in Result if the Formula Express VI is configured to execute the formula, W + X * (Y - Z)? | 2M | CO-2 | BL-3 |
|  | State application of virtual instrumentation. | 2M | CO-3 | BL-3 |
|  | Define functions of signal conditioning circuit. | 2M | CO-1 | BL-1 |
|  | What is RS stand for in RS 232, write the significance of it? | 2M | CO-1 | BL-2 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Draw and explain the graphical system design model. List the advantages of VI. | 10M | CO- 2 | BL-2 |
| OR |  |  |  |  |  |
|  | a) Explain the architecture of VI with suitable diagram. b) Compare traditional instrument with virtual instrument. | 5M 5M | CO-2 CO-1 | BL-2 BL-4 |
| UNIT-II |  |  |  |  |  |
|  | a) What is the value in Shift Register Answer after executing the following code? b) Draw and explain the various types of graph and charts in LabVIEW. | 5M 5M | CO-3 CO-3 | BL-3 BL-2 |
| OR |  |  |  |  |  |
|  | a) Illustrate the creation of Sub VI with the help of an example. b) Create a VI to find the sum of n(5) natural numbers using a for loop. Draw front panel and block diagram. | 5M 5M | CO-3 CO-3 | BL-3 BL-3 |
| UNIT-III |  |  |  |  |  |
|  | Explain in detail about GPIB with block diagram with various signals. Also explain the procedure for acquiring data from GPIB. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
|  | a) Enumerate the purpose and advantages of an instrument driver? b) Discuss the characteristics of PXI system controllers. | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| UNIT-IV |  |  |  |  |  |
|  | Explain the process of acquiring the data using the DAQ card. List the advantages of DAQ Assistant. | 10M | CO-1 | BL-3 |
| OR |  |  |  |  |  |
|  | a) Outline the practical aspects of interfacing in data acquisition b) Explain the procedure in selecting and configuring a data acquisition device. | 5M 5M | CO-1 CO-1 | BL-4 BL-3 |
| UNIT-V |  |  |  |  |  |
|  | Discuss the architecture of OPC client and server model with suitable diagram. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
|  | a) Write a short note on the development of VI using GUI b) Discuss the methods of publishing measurement data on the web | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |
| UNIT-VI |  |  |  |  |  |
|  | Outline the functions of Image acquisition & Processing tool sets. | 10M | CO-4 | BL-3 |
| OR |  |  |  |  |  |
|  | a) Draw and explain the different components of a motion control system. b) Discuss the functions of digital signal processing toolkit. | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |

***