| Subject Code 19PC1EI11 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular/Supplementary Examinations, November 2023

ANALYTICAL INSTRUMENTATION

(EIE)

Time: 3 hours                                                                                 		      		Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | Draw the block diagram of Analytical Instrument. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define Beer- Lamberts law. | 2M | CO-2 | BL-1 |
|  | List the applications of chromatography. | 2M | CO-4 | BL-1 |
|  | What is the principle of ESR spectroscopy? | 2M | CO-2 | BL-1 |
|  | Write the principle of katharometer. | 2M | CO-2 | BL-1 |
|  | List the applications of nuclear radiation detector. | 2M | CO-4 | BL-1 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | a) Explain the working of sodium analyser with neat sketch. b) Illustrate the construction and working of conductivity meter. | 4M 4M | CO-3 CO-3 | BL-2 BL-3 |
| OR |  |  |  |  |
|  | Outline the working of dissolved oxygen analyser with suitable application. | 8M | CO-4 | BL-4 |
| UNIT-2 |  |  |  |  |
|  | a) Explain the Fourier Transform Infrared spectrometer with neat diagram. b) Write a short note on flame photometry. | 5M 3M | CO-1 CO-1 | BL-2 BL-1 |
| OR |  |  |  |  |
|  | Outline single beam and double beam spectrophotometers with necessary diagrams. | 8M | CO-2 | BL-4 |
| UNIT-3 |  |  |  |  |
|  | a) Discuss about Gas Chromatography architecture with help of diagram. b) Outline different types of columns in gas chromatography. | 5M 3M | CO-2 CO-1 | BL-2 BL-4 |
| OR |  |  |  |  |
|  | Discuss the Principle and Applications of HPLC. | 8M | CO-4 | BL-2 |
| UNIT-4 |  |  |  |  |
|  | Explain the instrumentation associated with NMR Spectrometer. | 8M | CO-3 | BL-2 |
| OR |  |  |  |  |
|  | a) Illustrate any one mass spectrometer with neat diagrams. b) Describe the working of ESR spectrometer. | 4M 4M | CO-3 CO-1 | BL-3 BL-2 |
| UNIT-5 |  |  |  |  |
|  | a) Explain the working of H2S analyser with neat diagram. b) Describe the any one pollution monitoring system. | 4M 4M | CO-1 CO-1 | BL-2 BL-2 |
| OR |  |  |  |  |
|  | Explain the working of oxygen analyser using paramagnetic principle. | 8M | CO-2 | BL-2 |
| UNIT-6 |  |  |  |  |
|  | Outline the working principle of Thermo Gravimetric Analyser (TGA) and Derivative Thermo Gravimetric Analyser (DTGA). | 8M | CO-2 | BL-4 |
| OR |  |  |  |  |
|  | With a neat sketch explain about GM counter and Ionization chamber. | 8M | CO-1 | BL-4 |

***