| Subject Code 19PE1EE11 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular/Supplementary Examinations, November 2023

INTEGRATION AND CONTROL OF RENEWABLE ENERGY TECHNOLOGIES

(EEE)

Time: 3 hours                                                                                 		      	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | What are the causes of power quality issues? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | How to differentiate Conventional and non conventional sources of Energy? | 2M | CO-2 | BL-1 |
|  | Compare the technologies of wind and hydro power generations. | 2M | CO-2 | BL-2 |
|  | How the load Frequency is related with voltage control. | 2M | CO-4 | BL-3 |
|  | What are the basic parameters are required to observe for integration of different energy technologies. | 2M | CO-3 | BL-3 |
|  | Classify briefly the different types of energy storage technologies. | 2M | CO-1 | BL-2 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | a) Describe the power quality issues arises while connected with Electric Grid. b) What are the effects may observe while renewable energy sources penetrates into the grid. | 4M 4M | CO-1 CO-1 | BL-1 BL-1 |
| OR |  |  |  |  |  |
|  | Differentiate the Static and Dynamic Energy conversion Technologies | 8M | CO-2 | BL-2 |
| UNIT-2 |  |  |  |  |  |
|  | a) Analyse the Photovoltaic based power generation. b) Explain the principle of operation and analysis of fuel cell | 4M 4M | CO-3 CO-3 | BL-4 BL-4 |
| OR |  |  |  |  |  |
|  | Compare the different sources from conventional and non conventional | 8M | CO-2 | BL-3 |
| UNIT-3 |  |  |  |  |  |
|  | a) compose the different technologies for conventional and Non conventional sources of Energy b) How the micro turbines can utilize the power generation from non conventional sources of Energy | 4M 4M | CO-2 CO-4 | BL-3 BL-3 |
| OR |  |  |  |  |  |
|  | Compose the difficulties observe while the integrated operation of different dynamic energy conversion devices | 8M | CO-4 | BL-3 |
| UNIT-4 |  |  |  |  |  |
|  | a) Compare the control issues and challenges in Diesel and Fuel-cell based generators. b) Why the filters are needed for Grid connected system. | 4M 4M | CO-3 CO-3 | BL-3 BL-2 |
| OR |  |  |  |  |  |
|  | Describe how the load frequency will effects the voltage | 8M | CO-2 | BL-2 |
| UNIT-5 |  |  |  |  |  |
|  | a) Describe the sizing of the Integration System b) Explain the detection methods for an islanding operation | 4M 4M | CO-1 CO-2 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | Describe the requirements for integration. | 8M | CO-2 | BL-3 |
| UNIT-6 |  |  |  |  |  |
|  | a) Explain different types of Energy storage Technologies b) Differentiate the Electro chemical Lead acid and Lithium batteries. | 4M 4M | CO-1 CO-4 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | Describe the Hydrogen energy storage technology. | 8M | CO-4 | BL-4 |

***