| Subject Code 19OE1EE05 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular/Supplementary Examinations, November 2023

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                                 		      		Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | List two advantages of Conventional energy sources. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define Beam and Diffuse solar radiation. | 2M | CO-2 | BL-1 |
|  | What is the basic principle of wind energy conversion? | 2M | CO-3 | BL-1 |
|  | List the components of a tidal power plant. | 2M | CO-3 | BL-1 |
|  | What are the prospects of geothermal energy in context to India? | 2M | CO-4 | BL-1 |
|  | What are the limitations of small scale hydroelectric power generation? | 2M | CO-4 | BL-1 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Describe the impact of renewable energy on environment. Explain about the energy reserves in India. | 8M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
|  | Explain the environmental aspects of electrical energy generation. Explain in detail various kinds of renewable energy sources. | 8M | CO-1 | BL-2 |
| UNIT-2 |  |  |  |  |  |
|  | a) Explain any three semiconductor materials used in solar cells. b) What are the factors that affect the efficiency of a Solar Cell? | 4M 4M | CO-2 CO-2 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | With a neat schematic, explain the configuration of a solar cell with p-n junction semiconductor. What are the advantages and disadvantages of photo voltaic solar energy conversion. | 8M | CO-2 | BL-2 |
| UNIT-3 |  |  |  |  |  |
|  | a) Describe the modes of wind power generation b) What are the factors affecting the distribution of wind energy on the surface of earth? | 4M 4M | CO-3 CO-3 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | Comment on the environmental impacts of Wind Energy. Explain about the design consideration of Horizontal axis rotor. | 8M | CO-3 | BL-3 |
| UNIT-4 |  |  |  |  |  |
|  | Explain the factors affecting biogas production. Write a short note on present status of development of biomass energy resources in India | 8M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
|  | Explain Biomass gasification Describe the main applications of Biogas. | 8M | CO-3 | BL-3 |
| UNIT-5 |  |  |  |  |  |
|  | a) Explain the various types of Geothermal resources. b) What the parameters setting of OTEC plants? | 4M 4M | CO-4 CO-4 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | Describe a binary cycle system for liquid dominated geo thermal plant Write short notes on the nature of Tidal energy. What are its limitations? | 8M | CO-4 | BL-3 |
| UNIT-6 |  |  |  |  |  |
|  | a) What are the different types of lead-acid batteries, and how do they differ from each other? b) Explain the chemical reactions that occur within a lead-acid battery during discharge and recharge? | 4M 4M | CO-4 CO-4 | BL-2 BL-2 |
| OR |  |  |  |  |  |
|  | Explain the principle of operation behind nickel-metal hydride batteries. List the advantages of Ni-MH batteries compared to other rechargeable battery technologies | 8M | CO-4 | BL-2 |

***