| Subject Code 19PE1EI08 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2023

BIO MEDICAL SIGNAL PROCESSING

(ECE)

Time: 3 hours                                                                                 		      	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | What are the difficulties encountered in acquisition and analysis of ECG signal? | CO-1 | BL-3 |
| --- | --- | --- | --- |
|  | Write the properties of KL transform? | CO-1 | BL-2 |
|  | What is data compression? | CO-2 | BL-2 |
|  | Draw the sine wave model for 60 HZ adaptive cancellation. | CO-2 | BL-3 |
|  | Illustrate the structural features of wavelet. | CO-4 | BL-2 |
|  | What is the advantage of wavelet using analysis of signals? | CO-4 | BL-1 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | - Interpret the preprocessing stages of ECG signal. b) With a neat sketch, explain about an isometric line of ECG and its importance on ST segment. | 4M 4M | CO-1 CO-1 | BL-3 BL-3 |
| OR |  |  |  |  |
|  | a) Categorize various QRS detection techniques in ECG. b) Describe various Arrhythmia detection algorithms. | 4M 4M | CO-1 CO-1 | BL-4 BL-2 |
| UNIT-2 |  |  |  |  |
|  | a) Illustrate AZTEC algorithm with data reduction and data reconstruction b) Explain the steps involved in ECG data compression using CORTES technique with neat diagrams. | 4M 4M | CO-2 CO-2 | BL-3 BL-2 |
| OR |  |  |  |  |
|  | a) Illustrate about Weiner Filter Principles. b) Interpret the adaptive noise cancellation with LMS adaptive algorithm. | 4M 4M | CO-3 CO-3 | BL-2 BL-3 |
| UNIT-3 |  |  |  |  |
|  | a) What is first order linear predictor? Find its minimum mean square prediction error. b) Explain about template matching for EEG spike and wave detection | 4M 4M | CO-3 CO-3 | BL-2 BL-2 |
| OR |  |  |  |  |
|  | a) List the various types of EEG signals and their characteristics b) Demonstrate the process of adaptive segmentation techniques of EEG signals. | 4M 4M | CO-3 CO-3 | BL-2 BL-3 |
| UNIT-4 |  |  |  |  |
|  | - Analyze Markov models and Markov chains connected to sleep stages of brain. b) Describe indeail about dynamics of sleep wake transitions. | 4M 4M | CO-3 CO-3 | BL-4 BL-2 |
| OR |  |  |  |  |
|  | a) Explain prony’s method using Least Square estimation. b) Illustrate about covariance method of linear prediction. | 4M 4M | CO-3 CO-3 | BL-2 BL-3 |
| UNIT-5 |  |  |  |  |
|  | a) What are the types of wavelets used and how it is used to detect the ECG analysis? b) Explain in detail about detection of overlapping wavelets. | 4M 4M | CO-3 CO-3 | BL-2 BL-2 |
| OR |  |  |  |  |
|  | a) Describe in detail about DWT with an example. b) Explain about the applications of wavelets in biosignal processing. | 4M 4M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-6 |  |  |  |  |
|  | a) Illustrate about architecture for BCI with a neat sketch. b) Categorize the different types of BCI? | 4M 4M | CO-4 CO-4 | BL-3 BL-3 |
| OR |  |  |  |  |
|  | a) Illustrate about feature translation involved in BCI. b) Describe various medical applications of BCI. | 4M 4M | CO-4 CO-4 | BL-3 BL-2 |

***