| Subject Code 19PE1EE18 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2023

ENERGY AUDITING AND CONSERVATION

(EEE)

Time: 3 hours                                                                                 		      	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | Define energy conservation. |  | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Explain about types energy audit. |  | CO-2 | BL-2 |
|  | In what way power factor improvement is beneficial to the consumer and utility. |  | CO-3 | BL-1 |
|  | Explain about factors effecting efficiency. |  | CO-4 | BL-2 |
|  | Write about characteristics of low frequency induction motor. |  | CO-3 | BL-1 |
|  | Explain about light energy audit. |  | CO-4 | BL-2 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | What is the importance of energy conservation? Discuss the salient features energy conservation act 2001. | 8M | CO-1 | BL-1 |
| OR |  |  |  |  |
|  | Explain about qualities and functions of energy manager checklist for top management questionnaire. | 8M | CO-2 | BL-2 |
| UNIT-2 |  |  |  |  |
|  | Define energy audit. Explain the detailed energy audit with the help of the Sankey diagram. | 8M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | Explain about energy audit of process industries, thermal power stations and substations. | 8M | CO-4 | BL-2 |
| UNIT-3 |  |  |  |  |
|  | Explain the importance of electrical load management. Discuss various methods to control maximum demand. | 8M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | Explain about automatic power factor controllers. | 8M | CO-3 | BL-2 |
| UNIT-4 |  |  |  |  |
|  | - What is energy efficient motor and explain the constructional details of Energy Efficiency Motor. - Write any four differences between EEM and standard motor. | 4M 4M | CO-3 CO-3 | BL-1 BL-3 |
| OR |  |  |  |  |
|  | - Explain about duty cycle system. - Explain about voltage unbalance and over motoring. | 4M 4M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-5 |  |  |  |  |
|  | Illustrate the significance features of soft starters and explain the working principle of soft starters. | 8M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | Explain about energy efficient transformers. | 8M | CO-3 | BL-2 |
| UNIT-6 |  |  |  |  |
|  | Explain the principle used for efficient utilization for lightning systems. | 8M | CO-3 | BL-1 |
| OR |  |  |  |  |
|  | Explain the operation of the following energy audit instruments with necessary diagrams a) Wattmeter b) flux meter c) tongue tester. | 8M | CO-4 | BL-2 |