| Subject Code 19OE1EE04 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2023

ENERGY MANAGEMENT AND CONSERVATION

(Open Elective)

Time: 3 hours                                                                                 		      	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | Define the term energy audit | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is energy management. | 2M | CO-2 | BL-2 |
|  | List any two common causes of Voltage unbalance at the motor | 2M | CO-3 | BL-1 |
|  | Define power factor and give its importance. | 2M | CO-4 | BL-1 |
|  | List different methods of lighting control | 2M | CO-4 | BL-1 |
|  | Define simple pay back period. | 2M | CO-5 | BL-1 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Explain in detail about the need for energy audit and discuss different types of audit. | 8M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
|  | - Discuss the importance of energy index and cost index - List and explain different steps involved in building energy audit | 4M 4M | CO-1 CO-1 | BL-2 BL-1 |
| UNIT-2 |  |  |  |  |  |
|  | Give an detailed insight about the Questionnaire-check list for top management. | 8M | CO-2 | BL-3 |
| OR |  |  |  |  |  |
|  | - List the functions and duties of an energy manager. - Draw and explain the organizing chart of energy management program. | 4M 4M | CO-2 CO-2 | BL-1 BL-3 |
| UNIT-3 |  |  |  |  |  |
|  | Draw the characteristics of variable duty cycle and variable speed systems | 8M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
|  | Describe the technical aspects of energy efficient motors and also list the difference between standard motors and energy efficient motors. | 8M | CO-3 | BL-4 |
| UNIT-4 |  |  |  |  |  |
|  | Enumerate the different methods in practice for power factor improvement. | 8M | CO-4 | BL-3 |
| OR |  |  |  |  |  |
|  | Discuss the various effects of harmonics on power factor. | 8M | CO-4 | BL-3 |
| UNIT-5 |  |  |  |  |  |
|  | Explain the working and applications of following in relation with energy conservation. i)Data loggers ii)Flux meters iii)thermo couples iv)Pyrometers | 8M | CO-4 | BL-2 |
| OR |  |  |  |  |  |
|  | List the qualities of a good lighting system and discuss the importance of lighting in energy conservation | 8M | CO-4 | BL-1 |
| UNIT-6 |  |  |  |  |  |
|  | Explain present worth method in detail with an example. | 8M | CO-5 | BL-3 |
| OR |  |  |  |  |  |
|  | Discuss in detail about the life cycle costing process with characteristics and benefits. | 8M | CO-5 | BL-2 |

***