| Subject Code 19PE1EE13 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2023

HVDC TRANSMISSION

(EEE)

Time: 3 hours                                                                                 		      	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | What are the types of HVDC system. | CO-1 | BL-1 |
| --- | --- | --- | --- |
|  | Give the modes of operation with angles in rectifier operation of 12 pulse converter. | CO-2 | BL-2 |
|  | What are the firing angles control. | CO-2 | BL-1 |
|  | What are the drawbacks of the voltage-limiting control in the MTDC system? | CO-3 | BL-2 |
|  | How is power reversal achieved in the HVDC link? | CO-4 | BL-2 |
|  | What are the types of AC filters. | CO-4 | BL-2 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Explain in detail, the major components of a HVDC transmission in a converter station. | 8M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | Enumerate the disadvantages of HVAC and justify how the drawbacks can be overcome in the HVDC transmission system. | 8M | CO-1 | BL-2 |
| UNIT-2 |  |  |  |  |
|  | Describe the 12 pulse converter operation, wave forms with neat diagram. | 8M | CO-2 | BL-3 |
| OR |  |  |  |  |
|  | Analyze the performance of the Gratez circuit without overlap conditions with relevant waveforms. | 8M | CO-2 | BL-3 |
| UNIT-3 |  |  |  |  |
|  | With the help of block diagram explain pulse frequency control in DC link. | 8M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | Draw the power flow and frequency control diagrams and explain how power be control in DC link. | 8M | CO-2 | BL-3 |
| UNIT-4 |  |  |  |  |
|  | Discuss series-parallel multi-terminal HVDC system and its control. | 8M | CO-3 | BL-2 |
| OR |  |  |  |  |
|  | What do you understand by current margin method in MTDC system. | 8M | CO-3 | BL-3 |
| UNIT-5 |  |  |  |  |
|  | Explain in detail, the power flow analysis in a HVDC link with relevant equations. | 8M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | Explain the procedure for modeling DC links in DC network. | 8M | CO-4 | BL-2 |
| UNIT-6 |  |  |  |  |
|  | Explain in detail AC filters with the design Criteria. | 8M | CO-4 | BL-3 |
| OR |  |  |  |  |
|  | Explain the basic HVDC converter station filters. | 8M | CO-4 | BL-2 |

***