| Subject Code 19PE1ME24 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2023

POWER PLANT ENGINEERING

(ME)

Time: 3 hours                                                                                 		      	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

6X2=12M

|  | What are the various types of solid fuels? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Why a cooling system is required in internal combustion engine? | 2M | CO-1 | BL-2 |
|  | Define hydrograph? | 2M | CO-2 | BL-1 |
|  | Explain the principle of solar cell? | 2M | CO-2 | BL-2 |
|  | Define fertile materials and breeding in reactors? | 2M | CO-3 | BL-2 |
|  | Define demand factor? | 2M | CO-4 | BL-1 |

PART-B

6X8=48M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Explain overfeed and underfeed stokers with a neat sketch? | 8M | CO-1 | BL-3 |
| OR |  |  |  |  |
|  | Outline a neat line diagram of in plant coal handling and explain the equipment used at different stages. | 8M | CO-1 | BL-3 |
| UNIT-2 |  |  |  |  |
|  | - Explain briefly fuel injection system in diesel power plant. - Explain briefly wet sump lubrication system. | 4M 4M | CO-1 CO-1 | BL-3 BL-3 |
| OR |  |  |  |  |
|  | Draw a general layout of a diesel engine power plant and enlist its applications. | 8M | CO-1 | BL-2 |
| UNIT-3 |  |  |  |  |
|  | - Bring out the difference between the closed cycle and open cycle gas turbine power plants. - What are the different methods used to improve output and performance of gas turbine power plants? | 4M 4M | CO-2 CO-2 | BL-3 BL-3 |
| OR |  |  |  |  |
|  | - What are the essential elements of a Hydro Electric Power Plant? Explain their functions. - Explain the working and use of pumped storage plants. | 4M 4M | CO-2 CO-2 | BL-2 BL-2 |
| UNIT-4 |  |  |  |  |
|  | - Explain Single basin and Double basin arrangement of tidal power plants. - Explain the working principle of fuel cell with neat diagram | 4M 4M | CO-2 CO-3 | BL-3 BL-2 |
| OR |  |  |  |  |
|  | - Explain principle of power generation from horizontal and vertical axis wind mills. - What are the different possibilities of solar energy utilization for thermal applications? | 4M 4M | CO-2 CO-3 | BL-3 BL-2 |
| UNIT-5 |  |  |  |  |
|  | - What is the impact on the environment and human health for the effluents released from power plants. - Discuss about Radiation Hazards and their shielding? | 4M 4M | CO-3 CO-3 | BL-3 BL-2 |
| OR |  |  |  |  |
|  | - What are the functions of a Reflector, water reactor and power capacity factor. - How does boiling water reactor differs from pressurized water reactor. | 4M 4M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-6 |  |  |  |  |
|  | A 60 MW power station has an annual peak load of 50 MW. The power station supplies loads having maximum demands of 20 MW, 17 MW, 10 MW, and 9 MW. The annual load factor is 0.45. Find: (i) Average load, (ii) Energy supplied per year, (iii) Diversity factor and (iv) Demand factor. | 8M | CO-4 | BL-4 |
| OR |  |  |  |  |
|  | - Explain the methods of pollution control. - What are the different sources of pollution associated with nuclear power plants | 4M 4M | CO-4 CO-4 | BL-3 BL-3 |

***