| Subject Code 22ES1EE106 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. I Year I Semester Regular/Supplementary Examinations, January 2025

CIRCUIT THEORY

(EEE)

Time: 3 hours                                                                                 		Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A			              5X2=10M

|  | State Ohm’s Law? Also write its limitations. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define independent and dependent sources. | 2M | CO-2 | BL-1 |
|  | What do you mean by real and reactive power. | 2M | CO-3 | BL-1 |
|  | Define graph and tree. | 2M | CO-4 | BL-1 |
|  | What are self-inductance and mutual inductance? | 2M | CO-1 | BL-1 |

PART-B			              5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) Determine the Current I delivered by the source in the network. | 5M | CO-1 | BL-3 |
|  | - State and Verify the Kirchhoff’s Laws with suitable example. | 5M | CO-1 | BL-3 |
| OR |  |  |  |  |
| 2. | Explain the star-delta and delta-star transformation by deriving relevant expressions. | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |
| 3. | a) Using mesh Analysis, find the current supplied by the battery. | 5M | CO-1 | BL-3 |
|  | b) Find the current through the 5 Ω resistor using mesh analysis in the given network. | 5M | CO-1 | BL-3 |
| OR |  |  |  |  |
| 4. | Determine the voltages at each node for the circuit shown in Fig | 10M | CO-1 | BL-3 |
| UNIT-III |  |  |  |  |
| 5. | - An AC Supply of V(t)=415sin628t is given to the system. Find the following parameters. - Supply frequency - Maximum Voltage - RMS Voltage - Time Period - Instantaneous voltage at t=10ms | 5M | CO-2 | BL-3 |
|  | - A series RLC circuit has R = 5 Ω, L = 0.2 H and C = 50 µF. The applied voltage is 200 V. Find (i) resonant frequency (ii) Q-factor (iii) bandwidth (iv) current at resonance. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 6. | a) Derive the average and RMS values of a sine wave. | 5M | CO-2 | BL-3 |
|  | b) Determine the equivalent impedance of circuit given in Fig. | 5M | CO-2 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7. | - For the circuit shown, use superposition theorem to compute current I. | 5M | CO-3 | BL-3 |
|  | - State and prove Norton’s theorem. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 8. | Use Thevenin’s theorem to find the current through the 5 Ω resistor in given Fig. | 10M | CO-3 | BL-3 |
| UNIT-V |  |  |  |  |
| 9. | - Two coupled coils with L1=0.02H, L2=0.01H and K=0.5 are connected in series aiding and series opposing. Determine the equivalent inductance. | 5M | CO-1 | BL-3 |
|  | - Explain about Faraday’s laws of electromagnetic induction. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 10. | a) Differentiate Electrical and Magnetic circuits. | 6M | CO-1 | BL-2 |
|  | b) Explain about analysis of series and parallel magnetic circuits. | 4M | CO-1 | BL-2 |

***