| Subject Code 22PC1EI101 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. I Year II Semester Regular / Supplementary Examinations, June 2025

SENSORS AND TRANSDUCERS

(EIE)

Time: 3 hours                                                                                 		               Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | What are the basic components of a measurement system? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Differentiate between a three-wire and four-wire RTD. | 2M | CO-1 | BL-2 |
|  | What is the basic working principle of a capacitive sensor? | 2M | CO-3 | BL-1 |
|  | Define the thermoelectric effect. | 2M | CO-4 | BL-1 |
|  | What is a digital sensor? | 2M | CO-4 | BL-1 |

PART-B					5X10=50M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | - Explain the classification of sensors based on input and output signals. | 5M | CO-1 | BL-2 |
|  | - How do you classify sensors based on their working principles? | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
| 2. | Explain in detail about general input output configuration and its methods of correction. | 10M | CO-1 | BL-1 |
| UNIT-II |  |  |  |  |  |
| 3. | - Define Gauge factor. Derive expression for it. | 5M | CO-2 | BL-3 |
|  | - How does a resistive hygrometer measure humidity? | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 4. | What is the principle of thermistor? Explain the working and its applications. Illustrate the response characteristics of a thermistor with a temperature-resistance curve. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |  |
| 5. | - Explain the working principle of a capacitive touch sensor. | 5M | CO-3 | BL-2 |
|  | - Explain about electromagnetic sensors which are based on Faraday’s Laws of electromagnetic? | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
| 6. | Analyze the advantages of LVDT over other inductive sensors and explain the operation of LVDT. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | - Explain the working of a thermocouple with a neat diagram. | 7M | CO-4 | BL-2 |
|  | - What are the major industrial applications of Hall Effect sensors? | 3M | CO-4 | BL-1 |
| OR |  |  |  |  |  |
| 8. | Define Piezoelectric effect. Explain the working principle of it. Write the material used and their applications. | 10M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |  |
| 9. | - How does an absolute position encoder differ from an incremental encoder? | 5M | CO-4 | BL-3 |
|  | - Discuss the role of smart sensors in IoT applications. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |  |
| 10. | Explain in detail about the SAW sensors and list out at least any 2 applications? | 10M | CO-4 | BL-2 |

****