| Subject Code 22PC1EI202 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. II Year I Semester Regular/Supplementary Examinations, December/January 2025

ELECTRONIC MEASUREMENTS

(EIE)

Time: 3 hours                                                                                 		   Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | Calculate the arithmetic mean for the data. x1= 49.7 x2= 50.1 x3 = 50.2 x4= 49.6 x5= 49.7 | 2M | CO-1 | BL-4 |
| --- | --- | --- | --- | --- |
|  | Why Maxwell’s bridge is not suitable for high Q coils? | 2M | CO-2 | BL-2 |
|  | Draw the AC Rectifying type voltmeter. | 2M | CO-3 | BL-4 |
|  | State the applications of spectrum analyzers. | 2M | CO-4 | BL-1 |
|  | What is the significance of aquadag coating in CRT? | 2M | CO-5 | BL-2 |

PART-B				        5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Classify various errors and explain how we can avoid these errors? | 5M | CO-1 | BL-2 |
|  | - Explain any five static characteristics of an instrument. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Explain in detail about the standards in measurements. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3. | - Describe the working of Hay’s bridge for measurement of inductance. Derive the equations for bridge balance. | 5M | CO-2 | BL-2 |
|  | - Explain about the importance of Wagner’s earth connection. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4. | Explain the principle of Wheatstone bridge and obtain the expression for the current through the galvanometer using its Thevenin’s equivalent circuit. Explain the sources of measurement errors in Wheatstone bridge. | 10M | CO-3 | BL-3 |
| UNIT-III |  |  |  |  |
| 5. | - Explain the constructional details and working principle of watt-hour meter. | 5M | CO-3 | BL-2 |
|  | - Draw the block diagram of a Ramp type DVM and explain its operation. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6. | a) A basic d’Arsonval movement is used as a multi-range voltmeter with ranges 5V, 10V and 20V. The Ifsd=2mA and its Rm=50Ω. Design the multi-range voltmeter. | 5M | CO-3 | BL-4 |
|  | b) Draw the block diagram of a True RMS responding voltmeter and explain its operation. | 5M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Explain about heterodyne wave analyzer. | 5M | CO-5 | BL-2 |
|  | - Explain the principle of digital measurement of time with a neat diagram. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 8. | List out different modes of electronic counter and explain them with neat diagrams. | 10M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | Describe the principle of working and operation of a digital storage oscilloscope. | 10M | CO-5 | BL-2 |
| OR |  |  |  |  |
| 10. | Explain about different types of display devices. | 10M | CO-5 | BL-2 |

***