| Subject Code 22PC1EE203 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. II Year II Semester Regular/Supplementary Examinations, May/June 2025

ELECTRICAL MACHINES-II

(EEE)

Time: 3 hours                                                                                 	 Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					 5X2=10M

|  | List the losses that occur in a three-phase induction motor. | 2M | CO-2 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is rotor frequency in an Induction motor and why it is different from fundamental frequency? | 2M | CO-2 | BL-2 |
|  | List any two applications of capacitor start single-phase induction motors. | 2M | CO-2 | BL-1 |
|  | List the types of armature windings. | 2M | CO-1 | BL-1 |
|  | State the basic principle of a synchronous motor. | 2M | CO-2 | BL-2 |

PART-B				         5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Explain the production of a rotating magnetic field in a three-phase induction motor. | 5M | CO-1 | BL-2 |
|  | - Derive the starting torque equation of a three-phase induction motor. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 2. | Describe the constructional features of squirrel cage and wound rotor induction motors. | 10M | CO-2 | BL-2 |
| UNIT-II |  |  |  |  |
| 3. | Draw the circle diagram for a 3.73 kW, 200-V, 50-Hz, 4-pole, 3-φ star-connected induction motor from the following test data. No-load: Line voltage 200 V, line current 5 A; total input 350 W Blocked rotor: Line voltage 100 V, line current 26 A; total input 1700 W. Estimate from the diagram for full-load condition, the line current, power factor and also the maximum torque in terms of the full-load torque. | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4. | - Explain the phenomena of cogging in an induction motor. How it can be avoided? | 5M | CO-2 | BL-2 |
|  | - Explain the different types of braking methods used in induction motors. | 5M | CO-3 | BL-2 |
| UNIT-III |  |  |  |  |
| 5. | - Describe the construction and working of a single-phase induction motor. | 5M | CO-2 | BL-2 |
|  | - Describe the equivalent circuit of single-phase induction motor. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 6. | - Explain the double-field revolving theory of single-phase induction motors. | 5M | CO-2 | BL-2 |
|  | - Explain the working principle of a shaded pole motor and list its applications. | 5M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Explain the constructional features of cylindrical synchronous machines. | 5M | CO-1 | BL-2 |
|  | - Discuss the effect of armature reaction in synchronous machines with phasor diagrams. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 8. | - Discuss any one method of the synchronization procedure for a synchronous generator with an infinite bus. | 5M | CO-2 | BL-3 |
|  | - Describe the two-reaction theory of salient pole machines and explain slip test | 5M | CO-2 | BL-3 |
| UNIT-V |  |  |  |  |
| 9. | - Explain the working of a synchronous motor and how it is started. | 5M | CO-2 | BL-2 |
|  | - Discuss V and inverted V curves of a synchronous motor. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 10. | - Explain the phenomenon of hunting in synchronous machines. How can it can be minimized? | 5M | CO-3 | BL-3 |
|  | - Discuss the application of synchronous condenser in power factor correction. | 5M | CO-3 | BL-3 |

***