| Subject Code 22PE1EI303 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, December, 2024

FIBRE OPTIC AND LASER INSTRUMENTATION

(EIE)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A				              5X2=10M

|  | What is the difference between step-index and graded-index fibers? | 2M | CO1 | BL1 |
| --- | --- | --- | --- | --- |
|  | What is an Electro-optic modulator? Mention one of its applications. | 2M | CO4 | BL2 |
|  | What is endoscopy, and how do optical fibers play a role in it? | 2M | CO2 | BL1 |
|  | What are Q-switching and its purpose in lasers? | 2M | CO1 | BL2 |
|  | Define holography. | 2M | CO3 | BL1 |

PART-B				              5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Describe the basic structure of an optical fiber and its key components. | 5M | CO-1 | BL-2 |
|  | - Explain material dispersion and its effect on optical signal transmission. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Compare the different types of optical fiber losses and their impact on signal quality. | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |
| 3. | - Explain the working principle of an Avalanche Photodiode (APD) and its advantages over PIN diodes. | 5M | CO-4 | BL-3 |
|  | - Explain the structure and principle of operation of acousto-optic modulators. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 4. | Explain the impact of noise on the performance of PIN and APD detectors. Discuss how this affects the selection of detectors for high-speed optical communication systems. | 10M | CO-2 | BL-3 |
| UNIT-III |  |  |  |  |
| 5. | - Explain how optical fibers are utilized for current and voltage measurements. | 5M | CO-2 | BL-3 |
|  | - Explain how optical fibers are used for strain measurement in industrial applications. | 5M | CO-2 | BL-4 |
| OR |  |  |  |  |
| 6. | Discuss the role of Moiré fringes in industrial applications. Provide examples of their usage in measurement systems. | 10M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Explain the principle of population inversion and its significance in lasers. | 5M | CO-3 | BL-1 |
|  | - Briefly describe the construction and working of a semiconductor laser. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 8. | Describe in detail the operation of a three-level and a four-level laser system. Compare their efficiencies and applications. | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | - Explain the working principle of laser-based distance measurement. | 5M | CO-3 | BL-1 |
|  | - Describe how lasers are used to measure atmospheric effects like pollution or weather conditions. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 10. | Discuss the biomedical applications of lasers. Include their role in surgery, diagnostics, and therapeutic treatments. | 10M | CO-4 | BL-2 |

****