| Subject Code 22PE1ME301 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, December, 2024

NON-CONVENTIONAL ENERGY SOURCES

(ME)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | Discuss any two advantages of non-conventional sources of energy. | 2M | CO-1 | BL-2 |
| --- | --- | --- | --- | --- |
|  | What are the conditions to establish a wind turbine? | 2M | CO-1 | BL-1 |
|  | Define geothermal sources and mention any two applications. | 2M | CO-2 | BL-2 |
|  | How are tidal waves formed? | 2M | CO-2 | BL-1 |
|  | List any four properties of hydrogen. | 2M | CO-3 | BL-2 |

PART-B					5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) Explain the spectral power distribution of solar radiation. | 6M | CO-1 | BL-2 |
|  | b) Discuss about scattering and absorption. | 4M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Describe the working principle of : i) Pyranometer ii) Sunshine recorder. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3. | Discuss the main components and operation of a horizontal axis wind turbine, also mention the challenges encountered during setting up of such a type of turbine. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 4. | Compare fixed-speed and variable-speed drive schemes in wind energy conversion systems. | 10M | CO-1 | BL-3 |
| UNIT-III |  |  |  |  |
| 5. | a) Describe and explain vapor-dominated systems with an illustrative sketch. | 7M | CO-2 | BL-2 |
|  | b) Interpret the potential applications of liquid-dominated systems. | 3M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 6. | Explain the working principles of floating drum and fixed dome biogas plants. | 10M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Analyze the working principle of open cycle OTEC systems with neat sketches. | 6M | CO-3 | BL-4 |
|  | - Discuss the scope and prospects of OTEC technology in India. | 4M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 8. | Compare different tidal energy conversion schemes and discuss their current status in renewable energy systems. | 10M | CO-2 | BL-3 |
| UNIT-V |  |  |  |  |
| 9. | - Describe the working principles of Phosphoric Acid Fuel Cell (PAFC) | 6M | CO-3 | BL-2 |
|  | - Explain the storage issues with hydrogen. | 4M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 10. | a) Interpret the methodology of producing hydrogen through electrolysis. | 6M | CO-3 | BL-3 |
|  | b) Discuss the advantages and limitation of fuel cells. | 4M | CO-2 | BL-3 |

***