| Subject Code 22OE1EE301 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, Dec. 2024/Jan.2025

RENEWABLE ENERGY SOURCES

(Open Elective)

Time: 3 hours                                                                                 		    Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A				              5X2=10M

|  | Distinguish between the term irradiance and irradiation. | 2M | CO-1 | BL-2 |
| --- | --- | --- | --- | --- |
|  | Mention the significance of concentric solar radiation | 2M | CO-1 | BL-1 |
|  | What are the advantages of photovoltaic solar energy conversion? | 2M | CO-2 | BL-1 |
|  | What is gasification of biomass? | 2M | CO-3 | BL-1 |
|  | List the components of a tidal power plant. | 2M | CO-4 | BL-2 |

PART-B				              5X10=50M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | - Explain in detail, the solar radiation on earth surfaces. | 7M | CO-1 | BL-2 |
|  | - Explain the following terms used in Solar radiation analysis: i) Hour angle ii) Solar azimuth angle iii) Declination angle | 3M | CO-1 | BL-3 |
| OR |  |  |  |  |  |
| 2. | - Explain in detail various kinds of renewable energy sources and their potential and discuss the solar energy option. | 5M | CO-1 | BL-3 |
|  | - Explain the instruments for measuring solar radiation. | 5M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |  |
| 3. | - Discuss the arrangement of solar panels in solar water heating systems. | 5M | CO-1 | BL-2 |
|  | - Give a brief account of thermal analysis of a flat plate collector. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
| 4. | Enumerate different types of concentrating collectors and also list out advantages and limitations. | 10M | CO-1 | BL-2 |
| UNIT-III |  |  |  |  |  |
| 5. | - Explain the working of a PV cell. | 7M | CO-2 | BL-2 |
|  | - Differentiate between crystalline and thin-film solar cells. | 3M | CO-2 | BL-3 |
| OR |  |  |  |  |  |
| 6. | Draw and explain the equivalent circuit of a Solar cell and draw its I – V and P – V Characteristics. | 10M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | - Give a brief description on types of wind turbines. | 5M | CO-3 | BL-2 |
|  | - Explain the factors affecting biogas production. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
| 8. | - Write short notes on Biomass conversion technologies. | 5M | CO-3 | BL-2 |
|  | - Illustrate the speed control strategies of wind turbine | 5M | CO-3 | BL-3 |
| UNIT-V |  |  |  |  |  |
| 9. | - Describe about various geothermal sources. | 5M | CO-4 | BL-2 |
|  | - Illustrate various tidal energy conversion schemes. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |  |
| 10. | Explain with the help of neat diagram working of a liquid dominated single flashed steam system | 10M | CO-4 | BL-3 |

***