| Subject Code 22OE1EC301 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, Dec. 2024/Jan.2025

SENSORS TRANSUCERS AND ACTUATORS

(Open Elective)

Time: 3 hours                                                                                 		    Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A				              5X2=10M

|  | Compare Sensor and Transducer. | 2M | CO-1 | BL-4 |
| --- | --- | --- | --- | --- |
|  | What is the working Principle of Thermocouple? | 2M | CO-2 | BL-1 |
|  | Mention the applications of Hall effect Transducer. | 2M | CO-3 | BL-1 |
|  | List different smart sensors. | 2M | CO-4 | BL-1 |
|  | Differentiate mechanical and electrical actuator. | 2M | CO-5 | BL-4 |

PART-B				              5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Describe the various mechanical transducers with neat diagrams. | 5M | CO-1 | BL-2 |
|  | - Outline pressure and flow sensing elements with neat sketches. | 5M | CO-1 | BL-4 |
| OR |  |  |  |  |
| 2 | Discuss different classifications of transducers with necessary examples. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | - Explain about resistive potentiometer in detail with neat sketches. | 5M | CO-2 | BL-2 |
|  | - Illustrate the working of capacitive transducer with example. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4 | Outline the construction and working of Linear Variable Differential Transformer. | 10M | CO-2 | BL-4 |
| UNIT-III |  |  |  |  |
| 5 | - Explain working principle of Hall effect Transducer | 5M | CO-3 | BL-2 |
|  | - Illustrate the construction and working details of photo optic transducer. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 6 | Discuss in detail about digital encoding transducer. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7 | - Outline various standards for smart sensor interface. | 5M | CO-4 | BL-4 |
|  | - Compare sensor and smart sensor with relevant examples. | 5M | CO-4 | BL-4 |
| OR |  |  |  |  |
| 8 | Describe any two applications of smart sensor with neat sketches. | 10M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |
| 9 | - Write a short note on Electrical Actuators. | 5M | CO-5 | BL-2 |
|  | - Illustrate the working of different rotary actuators. | 5M | CO-5 | BL-3 |
| OR |  |  |  |  |
| 10 | Explain pneumatic and hydraulic actuation system with diagrams. | 10M | CO-5 | BL-2 |

***