| Subject Code 22OE1EE303 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, Dec. 2024/Jan.2025

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                                 		    Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A				              5X2=10M

|  | Define energy conservation and its importance. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is meant by a PV cell? | 2M | CO-2 | BL-1 |
|  | Differentiate between HAWT and VAWT. | 2M | CO-2 | BL-2 |
|  | Write short notes on anaerobic digestion. | 2M | CO-3 | BL-1 |
|  | List any two non-electric energy storage methods. | 2M | CO-4 | BL-1 |

PART-B				              5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Explain the trends in energy consumption in India. | 5M | CO-1 | BL-2 |
|  | - Discuss the need for sustainable development in energy. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Compare conventional and renewable energy sources. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3. | - Explain the spectral power distribution of solar radiation. | 6M | CO-2 | BL-2 |
|  | - Describe the working of a sunshine recorder. | 4M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4. | With the help of neat diagrams, explain the construction and working of crystalline solar cells. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5. | - Discuss the origin and global distribution of winds | 6M | CO-2 | BL-2 |
|  | - Write about the Betz criteria for wind turbine efficiency. | 4M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 6. | Explain the construction, operation, and advantages of Horizontal Axis Wind Turbines (HAWT). | 10M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Explain the principle of biogas generation using fixed-drum digesters. | 6M | CO-3 | BL-2 |
|  | - Discuss the economic benefits of biomass utilization. | 4M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 8. | Describe the combustion characteristics of biogas in IC engine applications. | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | Explain the principle and operation of geothermal energy extraction. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 10. | - Discuss the working of a lead-acid battery with neat diagrams. | 5M | CO-4 | BL-2 |
|  | - Explain the process of compressed air energy storage. | 5M | CO-4 | BL-2 |

****