| Subject Code 22PE1EE301 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular Examinations, December, 2024

UTILIZATION OF ELECTRICAL ENERGY

(EEE)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A				            5X2=10M

|  | Write the difference between contactor and a isolator. | 2M | CO-1 | BL-2 |
| --- | --- | --- | --- | --- |
|  | Define candle power and depreciation factor. | 2M | CO-2 | BL-1 |
|  | What is meant by Resistance heating. | 2M | CO-3 | BL-2 |
|  | Write the types of welding process. | 2M | CO-4 | BL-3 |
|  | Define Adhesive weight. | 2M | CO-5 | BL-2 |

PART-A				              5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Explain single line diagram of a wiring system with an example. | 5M | CO-1 | BL-4 |
|  | - Write the major components of a Fuse and MCB. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Explain about the selection of cables and metering systems. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3. | - Explain about the LED and CFL along with their operation. | 5M | CO-2 | BL-3 |
|  | - Write about various illumination schemes. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4. | Design of a lighting scheme for a commercial premises. | 10M | CO-2 | BL-4 |
| UNIT-III |  |  |  |  |
| 5. | - Explain about high frequency eddy current heating process. | 5M | CO-3 | BL-2 |
|  | - What are specifications to be considered in heating efficiency calculations? | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6. | Explain in detail about induction heating. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Describe about Electric welding Equipment. | 5M | CO-4 | BL-3 |
|  | - Explain Arc welding process. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 8. | What are the comparison between AC welding and DC welding | 10M | CO-4 | BL-4 |
| UNIT-V |  |  |  |  |
| 9. | - Explain about the mechanism of Train movement. | 5M | CO-5 | BL-3 |
|  | - Explain about the equipment and layout of 25KV A.C traction system. | 5M | CO-5 | BL-3 |
| OR |  |  |  |  |
| 10. | Derive an expression for the distance travelled by an electric train using Quadrilateral speed-time curve. | 10M | CO-5 | BL-4 |

****