| Subject Code 22OE1EE302 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular Examinations, May/June 2025

RENEWABLE ENERGY TECHNOLOGIES

(Open Elective - II)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | Define Hot spot problem in PV Module. | 2M | CO-1 | BL-2 |
| --- | --- | --- | --- | --- |
|  | Explain net-metering. | 2M | CO-3 | BL-1 |
|  | List the few Basic electronic Switching Devices | 2M | CO-3 | BL-1 |
|  | What is MPPT? | 2M | CO-2 | BL-1 |
|  | What is the concept of fuel cell. | 2M | CO-2 | BL-1 |

PART-B					5X10=50M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | a) Describe the construction and working of Solar Photo Voltaic System. | 5M | CO-1 | BL-1 |
|  | b) What are shadow effects on Photo Voltaic cell and how to eliminate. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
| 2. | Describe in detail about the Photo Voltaic cell equivalent circuit and its I-V and P-V characteristics | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |  |
| 3. | a) Draw the schematic diagram of grid interactive solar PV system. | 5M | CO-3 | BL-1 |
|  | b) Describe stand alone operation of solar energy conversion system. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |  |
| 4. | a) Explain the off-grid PV system with battery and diesel generator. | 5M | CO-3 | BL-2 |
|  | b) Write about the design requirements of solar water pumping and the design steps involved. | 5M | CO-3 | BL-2 |
| UNIT-III |  |  |  |  |  |
| 5. | a) Illustrate the basic operation of a DC-DC buck converters in detail | 5M | CO-3 | BL-1 |
|  | b) Write the basic operation of DC-AC inverter. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |  |
| 6. | a) Explain Boost Converter Operation | 6M | CO-3 | BL-1 |
|  | b) What are the battery chargers & Explain about grid interface conditions | 4M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | a) What is the necessity of Maximum power point tracking in PV system? | 3M | CO-2 | BL-1 |
|  | b) Explain Various sources of losses is PV system in detail. | 7M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 8. | Analyze the P&O method, write the program for P&O method, Advanced Issues & Algorithms. | 10M | CO-2 | BL-3 |
| UNIT-V |  |  |  |  |  |
| 9. | a) Illustrate various storage systems for Hydrogen and its applications. | 5M | CO-2 | BL-2 |
|  | b) Classify Various types of fuel cells. | 5M | CO-2 | BL-1 |
| OR |  |  |  |  |  |
| 10. | Describe the principle and operation of fuel cell model and define power and efficiency of a fuel cell. | 10M | CO-2 | BL-2 |

****