| Subject Code A19PC1EI11 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular Examinations, December, 2024

ANALYTICAL INSTRUMENTATION

(EIE)

Time: 3 hours                                                                                 		     Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | Write principle of dissolved oxygen analyzer? | 2M | CO-2 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Differentiate Flame emission with Atomic emission in terms of operation. | 2M | CO-1 | BL-2 |
|  | Name the major parts in HPLC instrument. | 2M | CO-3 | BL-1 |
|  | Write two applications of Mass spectrophotometer? | 2M | CO-3 | BL-2 |
|  | Write principle of Derivative Thermo Gravimetric Analyzer? | 2M | CO-4 | BL-1 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Discuss in detail sodium analyser with neat diagram and also explain applications. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | a) Write short note on conductivity meter? b) Explain silica analyzer? | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| UNIT-II |  |  |  |  |
|  | Highlight Beer Lambert’s law? Distinguish UV-Visible spectrometer with neat sketch. | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
|  | a) Explain Atomic emission spectrophotometer. b) Outline FTIR operation. | 5M 5M | CO-2 CO-2 | BL-2 BL-3 |
| UNIT-III |  |  |  |  |
|  | Summarize Principle and operation of HPLC with neat diagram. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | Recall Gas Chromatography. Analyze any sample with Gas chromatography. | 10M | CO-3 | BL-3 |
| UNIT-IV |  |  |  |  |
|  | What is NMR Spectroscopy? Elaborate NMR working and parts of instrumentation. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | a) Outline ESR in detail. b) Write short note on mass spectrophotometer. | 5M 5M | CO-3 CO-3 | BL-3 BL-2 |
| UNIT-V |  |  |  |  |
|  | Label types of analysers. Explain oxygen analyser using paramagnetic principle with diagram? | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | a) Summarize NO2 analyser. b) Discuss in detail H2S analyser. | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |
| UNIT-VI |  |  |  |  |
|  | Interpret the results with DSC and TGA analysis by taking any sample. | 10M | CO-5 | BL-3 |
| OR |  |  |  |  |
|  | a) Write short note on gas filled detectors. b) Outline GM detector. | 5M 5M | CO-5 CO-5 | BL-2 BL-2 |

***