| Subject Code A19OE1EE03 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular Examinations, December 2024

ENERGY STORAGE TECHNOLOGIES

(Open Elective)

Time: 3 hours                                                                                 		    Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | Define electrical energy storage system. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define renewable fraction and payback period | 2M | CO-2 | BL-1 |
|  | Mention the disadvantage of the Lead Acid battery in comparison with lithium ion battery. | 2M | CO-3 | BL-1 |
|  | Define the terms state of energy (SOE) and state of charge (SOC). | 2M | CO-4 | BL-1 |
|  | Mention the specialized application of Capacitor Bank. | 2M | CO-5 | BL-1 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Discuss how Electrical Energy Storage provides technical support in balancing demand and supply in power systems. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | Briefly discuss about various energy storage technologies. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
|  | Explain the practical challenges of off-grid and grid-connected storage systems. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | Enumerate the concept of estimation of storage for a grid-connected residential photovoltaic (PV) system with an example. | 10M | CO-2 | BL-3 |
| UNIT-III |  |  |  |  |
|  | Describe the composition and operation of a Lithium-Ion battery. | 10M | CO-3 | BL-2 |
| OR |  |  |  |  |
|  | Compare the energy density, lifespan, and safety of lead-acid, Nickel-Cadmium, and Lithium-Ion batteries. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |
|  | Sketch and explain the equivalent circuit model of battery. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | Explain any few basic performance characteristic of battery. | 10M | CO-4 | BL-3 |
| UNIT-V |  |  |  |  |
|  | Explain the different types of thermal energy storage methods and their applications. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | Summarize the main advantages and disadvantages of capacitor banks compared to other energy storage technologies. | 10M | CO-4 | BL-2 |
| UNIT-VI |  |  |  |  |
|  | Explain how regenerative braking in hybrid vehicles contributes to energy efficiency and storage needs. | 10M | CO-5 | BL-2 |
| OR |  |  |  |  |
|  | Discuss the characterization of following batteries used for communication networks. - Mobile or nomadic devices. - Uninterruptible power supply batteries. | 10M | CO-5 | BL-2 |

***