| Subject Code A19PC1EE10 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular Examinations, December, 2024

SWITCHGEAR AND PROTECTION

(EEE)

Time: 3 hours                                                                                 		      		Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | What are the methods adopted for arc quenching in a circuit breaker. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is meant by backup or secondary protection? | 2M | CO-1 | BL-1 |
|  | What is the basic principle of the differential scheme of protection? | 2M | CO-2 | BL-1 |
|  | Write the difference between amplitude comparator and phase comparator. | 2M | CO-4 | BL-2 |
|  | Discuss the need for AI in power systems. | 2M | CO-5 | BL-2 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | a) Derive the expression for Restriking voltage. b) For a 132kV system, the reactance and the capacitance up to the location of CB is 3 and 0.015 micro farad, respectively. Find i) The frequency transient oscillation ii) maximum value of the re-striking voltage iii) maximum value of RRRV. | 4M 6M | CO-1 CO-1 | BL-3 BL-2 |
| OR |  |  |  |  |
|  | Discuss with diagram the working principle of the Arc extinction device in a minimum oil circuit breaker. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
|  | What are the main features of a protective system? And Explain in detail | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | Analyse briefly about Impedance and mho relay characteristics. | 10M | CO-1 | BL-4 |
| UNIT-III |  |  |  |  |
|  | a) Discuss with a neat diagram how percentage differential relay is used for the protection of alternator. b) Explain the Peterson coil grounding, mention its advantages and disadvantages. | 6M 4M | CO-2 CO-2 | BL-3 BL-1 |
| OR |  |  |  |  |
|  | a) Discuss different faults that can occur in a three phase alternator b) With a neat sketch, discuss about operation of Buchholz relay. | 5M 5M | CO-2 CO-2 | BL-3 BL-3 |
| UNIT-IV |  |  |  |  |
|  | Compare the duality between amplitude and phase comparator. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | a) What are the merits and demerits of static relays over electromagnetic relay? b) Describe the various static relay components with neat diagrams. | 5M 5M | CO-3 CO-3 | BL-1 BL-2 |
| UNIT-V |  |  |  |  |
|  | How to find the fault location using digital protection. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
|  | a) Draw the digital relaying algorithm. b) Discuss the concept of PMUs and its application in power system. | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |
| UNIT-VI |  |  |  |  |
|  | a) What are the application of artificial intelligence in power system protection. b) Write the application of ANN to over current protection. | 5M 5M | CO-5 CO-5 | BL-1 BL-2 |
| OR |  |  |  |  |
|  | Analyse the power system by using ANN in alternator protection and power transformer. | 10M | CO-5 | BL-4 |

***