| Subject Code A19OE1EE05 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular Examinations, December 2024

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                                 		      	 Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A

5X2=10M

|  | List the advantages of conventional energy sources? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Explain PV module and PV array. | 2M | CO-2 | BL-2 |
|  | Classify different types of vertical axis wind mills. | 2M | CO-2 | BL-2 |
|  | What is biomass? | 2M | CO-3 | BL-1 |
|  | List any two advantages of lead-acid batteries. | 2M | CO-4 | BL-1 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Examine the factors influencing the adoption of renewable energy technologies in India. | 10M | CO-1 | BL-4 |
| OR |  |  |  |  |
|  | - Explain the major conventional and renewable energy sources available in India. - Define energy conservation and explain its importance in sustainable development. | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| UNIT-II |  |  |  |  |
|  | - What is PV cell? Describe the classification of PV cells. - Interpret the performance of PV cell with a neat equivalent circuit diagram. | 5M 5M | CO-2 CO-2 | BL-2 BL-3 |
| OR |  |  |  |  |
|  | a) Explain the instrument pyranometer for measuring solar radiation. b) Compare and contrast extraterrestrial and terrestrial solar radiation. | 5M 5M | CO-2 CO-2 | BL-2 BL-4 |
| UNIT-III |  |  |  |  |
|  | Discuss the principle of operation of Horizontal axis wind turbine. Mention the reason why it is preferable and mention its advantages and disadvantages. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | a) Interpret the factors affecting the distribution of wind energy on the Surface of Earth, b) Explain in detail about local and global winds. | 5M 5M | CO-2 CO-2 | BL-3 BL-2 |
| UNIT-IV |  |  |  |  |
|  | Interpret fixed-dome and floating-drum biogas digesters with neat sketches. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | a) Examine the working principles of anaerobic digestion in biogas production. b) Describe how biogas can be utilized for cooking and its benefits over conventional fuels. | 5M 5M | CO-3 CO-3 | BL-4 BL-3 |
| UNIT-V |  |  |  |  |
|  | Interpret the closed cycle OTEC plant and list out the major problems associated with OTEC. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
|  | a) What is tidal energy, and how is it generated? b) Explain about mini-hydel Power plant with a neat layout. | 5M 5M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-VI |  |  |  |  |
|  | Explain how nickel-cadmium batteries differ from nickel-metal hydride batteries in terms of operation and performance. | 10M | CO-4 | BL-4 |
| OR |  |  |  |  |
|  | Explain the Compressed air energy storage and Superconducting Magnet energy storage methods. | 10M | CO-4 | BL-2 |

***