| Subject Code A19PC1CE17 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular Examinations, December 2024

WASTEWATER ENGINEERING

(CE)

Time: 3 hours                                                                                 		      	    Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

All Questions Carry Equal Marks.

PART-A

5X2=10M

|  | Define wastewater and mention two common sources of its generation. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define onsite sanitation and provide one example. | 2M | CO-2 | BL-1 |
|  | Compare Activated Sludge Process with Trickling filter. | 2M | CO-2 | BL-2 |
|  | Draw the oxygen sag curve and label various stages of the curve. | 2M | CO-3 | BL-1 |
|  | Outline two common pollutants found in wastewater from tanneries. | 2M | CO-4 | BL-2 |

PART-B

6X10=60M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | a) Elaborate the importance of estimating sewage discharge for urban planning. b) What are the effluent standards, and why they are essential in wastewater management? | 5M 5M | CO-1 CO-1 | BL-2 BL-2 |
| OR |  |  |  |  |  |
| 2. | Explain about physical, chemical the bacteriological characteristics of sewage and their role in Sewage treatment. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |  |
| 3. | Enumerate the types of pumps used for lifting sewage, including their applications and limitations. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |  |
| 4. | Calculate the flow velocity and corresponding discharge in a sewer section with a diameter equal to 1 m, laid at a gradient of 1 in 500. The sewer runs at 0.6m depth. Use the manning’s formula. Take N=0.012. | 10M | CO-1 | BL-3 |
| UNIT-III |  |  |  |  |  |
| 5. | Discuss the principles and functioning of sedimentation tanks, including their design and drawing. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 6. | Elaborate the methods used for oil and grease removal and Grit removal in primary sewage treatment with a neat sketch. | 10M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | Describe the role of aeration lagoons and stabilization ponds in the treatment of sewage, including their design considerations. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 8. | Illustrate the principles and functions of Trickling filter in secondary treatment of waste water with a neat sketch. | 10M | CO-2 | BL-2 |
| UNIT-V |  |  |  |  |  |
| 9. | A city of population 40,000 discharges sewage with a dry sludge content of 0.072 kg per capita per day. The raw sludge is to be digested in a sludge digestion tank. The moisture content and specific gravity of the wet sludge are 97% and 1.02, respectively. If 3% of the sludge digester volume is filled with fresh sludge, then the estimated capacity of the sludge digester. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
| 10. | a) List and explain various stages of sludge digestion process. b) Describe the factors affecting sludge digestion and how they can be controlled. | 5M 5M | CO-3 CO-3 | BL-2 BL-2 |
| UNIT-VI |  |  |  |  |  |
| 11. | Explain the wastewater treatment methods for sugar and distillery industries, focusing on effluent characteristics. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |  |
| 12. | a) Discuss the environmental concerns associated with wastewater from pharmaceutical industries. b) Explain how wastewater from pulp and paper industries treated? | 5M 5M | CO-4 CO-4 | BL-2 BL-2 |

***