| Subject Code A19OE1EE04 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2025

ENERGY MANAGEMENT AND CONSERVATION

(Open Elective)

Time: 3 hours                                                              				Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A				5X2=10M

|  | Define Energy Index. | 2M | CO1 | BL1 |
| --- | --- | --- | --- | --- |
|  | What is Energy Management? | 2M | CO2 | BL1 |
|  | What are the advantages of energy efficient motors? | 2M | CO3 | BL1 |
|  | List out the disadvantages of low power factor. | 2M | CO4 | BL1 |
|  | Mention different payback methods. | 2M | CO5 | BL1 |

PART-B				6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Explain the methodology for detailed Energy Audit process. | 10M | CO1 | BL2 |
| OR |  |  |  |  |
|  | a) Illustrate various Energy Conservation schemes. | 6M | CO1 | BL2 |
|  | b) Discuss the importance of Sankey diagram. | 4M | CO1 | BL3 |
| UNIT-II |  |  |  |  |
|  | a) Give an insight about the Questionnaire – check list for top management. | 5M | CO2 | BL2 |
|  | b) Describe the duties and responsibilities of an Energy manager. | 5M | CO2 |  |
| OR |  |  |  |  |
|  | Explicate principles of energy management and explore the organizing energy management program. | 10M | CO2 | BL2 |
| UNIT-III |  |  |  |  |
|  | Describe the Technical aspects of energy efficient motors and also list the difference between standard motors and energy efficient motors. | 10M | CO3 | BL2 |
| OR |  |  |  |  |
|  | a) Discuss various factors affecting the efficiency of a motor. | 5M | CO3 | BL2 |
|  | b) Explain about over motoring and motor energy audit. | 5M | CO3 | BL2 |
| UNIT-IV |  |  |  |  |
|  | Explain different methods of power factor improvement | 10M | CO4 | BL2 |
| OR |  |  |  |  |
|  | Explain the p.f. motor controllers and how to minimize the effect of harmonics on p.f. | 10M | CO4 | BL2 |
| UNIT-V |  |  |  |  |
|  | Explain the role of the following energy instruments with respect to effective energy control i) Wattmeter ii) Pyrometer iii) Data logger iv) Thermo couple | 10M | CO5 | BL2 |
| OR |  |  |  |  |
|  | a) Enlighten the design and practice of good lighting system. | 6M | CO5 | BL2 |
|  | b) Deliberate the lighting control and audit. | 4M | CO5 | BL2 |
| UNIT-VI |  |  |  |  |
|  | Describe the Net Present Worth method of computation of Economic aspects. | 10M | CO6 | BL2 |
| OR |  |  |  |  |
|  | Describe the applications of life cycle costing analysis and return on investment. | 10M | CO6 | BL2 |

***