| Subject Code A19PE1ME24 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | A19 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2025

POWER PLANT ENGINEERING

(ME)

Time: 3 hours                                                                                 	      	 Max. Marks: 70

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | Mention the various modern ash handling systems. | 2M | CO-2 | BL-1 |
| --- | --- | --- | --- | --- |
|  | List the advantages and disadvantages of a diesel power station. | 2M | CO-1 | BL-1 |
|  | Name the major components of a gas turbine plant. | 2M | CO-2 | BL-1 |
|  | Define (i) Nuclear Fission (ii) Fusion | 2M | CO-1 | BL-1 |
|  | Define demand factor and capacity factor. | 2M | CO-4 | BL-1 |

PART-B					6X10=60M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | List out different types of coals and explain the various properties of coal. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | a) What is meant by ‘over feed’ and ‘under feed’ principles of firing coal? | 5M | CO-2 | BL-2 |
|  | b) How are cooling towers classified? Explain any one of them with a neat sketch. | 5M | CO-2 | BL-2 |
| UNIT-II |  |  |  |  |
|  | Explain briefly various types of fuel injection systems. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
|  | a) What is an IC engine? Explain its operation. | 5M | CO-2 | BL-2 |
|  | b) What are the basic types of I.C. Engine? | 5M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
|  | Explain the working simple open cycle and closed cycle gas turbine plant with a schematic diagram. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | a) Classify Hydroelectric power plants. | 5M | CO-2 | BL-3 |
|  | b) Illustrate the working of a hydro-electric power plant, with a neat sketch. | 5M | CO-1 | BL-2 |
| UNIT-IV |  |  |  |  |
|  | Explain working principle of horizontal and vertical axis wind turbines with neat sketches. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | a) Describe with the help a neat sketch, the working principle of fuel cell | 5M | CO-1 | BL-2 |
|  | b) Demonstrate the working principle of flat plate collector with neat sketch also explain the functions of each component. | 5M | CO-1 | BL-2 |
| UNIT-V |  |  |  |  |
|  | Explain with a simple sketch, the working of gas cooled reactor with relative advantages and disadvantages. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
|  | a) Explain with help of neat diagram the construction and working of a nuclear power plant. | 5M | CO-1 | BL-2 |
|  | b) Discuss the relative merits and demerits of a nuclear power plant when compared with steam power plant. | 5M | CO-1 | BL-2 |
| UNIT-VI |  |  |  |  |
|  | A generating station has a max. demand of 15MW and the daily load on the station is as follows 10 PM – 5 AM 2500KW 1 PM – 4 PM 10,000KW 5 AM – 7 AM 3000KW 4 PM – 6 PM 12,000KW 7 AM – 11 AM 9000KW 6 PM – 8 PM 15000KW 11 AM – 1 PM 6000KW 8 PM – 10 PM 5000KW Determine the size and number of generating units, plant load factor, and Plant capacity factor, use factor and reserve capacity of the plant. | 10M | CO-4 | BL-4 |
| OR |  |  |  |  |
|  | a) Describe, what you understand by power plant economics? Explain the fixed costs and operating costs of a power station | 5M | CO-3 | BL-2 |
|  | b) Explain the pollution control technologies including waste disposal options for coal power plant. | 5M | CO-3 | BL-2 |

***