| Subject Code 25ES1EE106 |  |  |  |  |  |  |  |  | R25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. I Year I Semester Regular Examinations, January 2026

PRINCIPLES OF ELECTRICAL ENGINEERING

(CSBS)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

|  | Compare ideal and practical current source? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define form factor and peak factor? | 2M | CO-2 | BL-2 |
|  | Define magnetic circuit and magnetic flux? | 2M | CO-3 | BL-1 |
|  | Write the significance of back emf in a dc motor? | 2M | CO-4 | BL-2 |
|  | Differentiate between primary and secondary batteries. | 2M | CO-5 | BL-2 |

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | a) For the given the circuit, determine the branch voltages V1 to V4? | 5M | CO-1 | BL-3 |
|  | b) Determine the equivalent resistance for the following circuit? | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Determine the mesh currents for the following circuit | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |
| 3 | - Define average value and determine the average value for the following circuit? | 5M | CO-2 | BL-3 |
|  | b) Determine (i) Impedance (ii) Current (iii) power factor for the following circuit? | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4 | Derive the relation between the line and phase quantities in star connected three phase system with required phasor diagram? | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5 | - Derive the energy stored in a capacitor? | 5M | CO-3 | BL-2 |
|  | - Discuss about series magnetic circuit? | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6 | (a)Two coupled cols have self-inductances L1= 10×10-3H and L2= 20×10-3H. The coefficient of coupling (K) being 0.75 in the air, find voltage in the second coil and the flux of first coil provided the second coils has 500 turns and the circuit current is given by i1 = 2 sin314t A. (b) The air coil solenoid has length = 15 cm and inside diameter D = 1.5 cm. Calculate inductance if coil has 900 turns with total flux 1.33 × 10−7 Wb, when coil current is 100 mA. | 10M | CO-3 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7 | - Derive the Emf equation of a DC generator? | 5M | CO-4 | BL-2 |
|  | - A 4 pole, lap wound, d.c. generator has a useful flux of 0.07 Wb per pole. Calculate the generated e.m.f. when it is rotated at a speed of 900 r.p.m. with the help of prime mover. Armature consists of 440 number of conductors. Also calculate the generated e.m.f. if lap wound armature is replaced by wave wound armature. | 5M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 8 | Explain about Single phase transformer working principle and derive emf equation of transformer? | 10M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |
| 9 | - Differentiate between MC and MI instruments? | 5M | CO-5 | BL-2 |
|  | - Explain about electrical characteristics of Lead-Acid battery? | 5M | CO-5 | BL-2 |
| OR |  |  |  |  |
| 10 | Discuss the need for earthing in electrical systems. With neat diagrams, explain the Pipe Earthing and Plate Earthing methods? | 10M | CO-5 | BL-2 |

****