| Subject Code 22PC1EI202 |  |  | HT No. |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. II Year I Semester Regular/Supplementary Examinations, December 2025

ELECTRONIC MEASUREMENTS

(EIE)

Time: 3 hours                                                                                 		   Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | What are international standards? Give examples. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is Wagner ground connection? | 2M | CO-2 | BL-1 |
|  | What is a true RMS responding voltmeter? | 2M | CO-3 | BL-1 |
|  | Define frequency measurement. | 2M | CO-4 | BL-2 |
|  | List out the uses of 7 segment disaplay. | 2M | CO-5 | BL-1 |

PART-B					5X10=50M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Describe different types of static errors in measurement systems. | 5M | CO-1 | BL-2 |
|  | - Differentiate and explain the relationship between accuracy, precision, and sensitivity in measurement systems. | 5M | CO-1 | BL-4 |
| OR |  |  |  |  |
| 2. | Compare and contrast primary, secondary, and working standards with examples. | 10M | CO-1 | BL-4 |
| UNIT-II |  |  |  |  |
| 3. | - Explain the working principle of Wheatstone bridge with a neat diagram. | 5M | CO-2 | BL-2 |
|  | - Demonstrate the construction, working and applications of Kelvin bridge for low resistance measurement. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4. | Discuss the working principle of Q-meter and explain how it is used to test the quality factor of a coil. | 10M | CO-2 | BL-4 |
| UNIT-III |  |  |  |  |
| 5. | - Explain the construction and working of a DC voltmeter. | 5M | CO-3 | BL-2 |
|  | - Explain the construction and principle of operation of a power factor meter with necessary diagrams. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6. | With a block diagram, explain the working principle of a successive approximation type digital voltmeter. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Describe the method used for high-frequency measurements. | 5M | CO-4 | BL-3 |
|  | - Explain the working of a totalizing counter. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 8. | Explain with a diagram the construction and operation of a heterodyne wave analyzer. | 10M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | - Interpret how Lissajous patterns are used for phase measurement. | 5M | CO-5 | BL-3 |
|  | - Describe the operation of a sampling oscilloscope. | 5M | CO-5 | BL-3 |
| OR |  |  |  |  |
| 10. | Compare the operation, advantages, and limitations of dual-trace and dual-beam oscilloscopes. | 10M | CO-5 | BL-4 |

***