| Subject Code 22PE1EI302 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular/Supplementary Examinations, December, 2025

POWER PLANT INSTRUMENTATION

(EIE)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | List any four renewable energy sources. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Mention the types of water circulation systems | 2M | CO-1 | BL-1 |
|  | Define lubrication system. | 2M | CO-2 | BL-1 |
|  | What are the main components of an I&C system in nuclear power plants? | 2M | CO-3 | BL-1 |
|  | Define radiation units. | 2M | CO-4 | BL-1 |

PART-B					5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Describe the classification of instruments used in power plants. | 5M | CO-1 | BL-2 |
|  | - Discuss various types of energy sources used in power generation. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Explain the construction of nuclear power and thermal power plants . | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | - Explain the working of a three-element drum level control system with a neat diagram | 5M | CO-3 | BL-2 |
|  | - Summarize the function and working principle of a differential pressure transmitter (DPT). | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4 | Interpret the importance of impurity measurement and feed water treatment and also analyse the effects of impurities in water and steam on boiler efficiency | 10M | CO-2 | BL-3 |
| UNIT-III |  |  |  |  |
| 5 | - Illustrate the control and monitoring of a steam turbine with a block diagram | 5M | CO-3 | BL-4 |
|  | - Explain the functions of governors in turbine control systems. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6 | Analyze the process, mechanical, and electrical parameters measured in turbines. | 10M | CO-3 | BL-4 |
| UNIT-IV |  |  |  |  |
| 7 | - Discuss the functions of control systems during start-up, operation, and shut-down. | 5M | CO-4 | BL-2 |
|  | - Explain the role and structure of the man-machine interface system (MMIS). | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 8 | Examine the system level I&C architecture. | 10M | CO-3 | BL-4 |
| UNIT-V |  |  |  |  |
| 9 | - Interpret the radiation protection techniques used in nuclear plants. | 5M | CO-4 | BL-3 |
|  | - Analyse one accident that occurred at nuclear power plant. | 5M | CO-4 | BL-4 |
| OR |  |  |  |  |
| 10 | Explain the concept of surveillance, diagnosis, and prognosis in nuclear systems. | 10M | CO-4 | BL-2 |

****