| Subject Code 22PC1EE303 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular /Supplementary Examinations, December, 2025

SUSTAINABLE ENERGY SOLUTIONS

(EEE)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | What are the major social and environmental impacts of sustainable energy use? | 2M | CO-1 | BL–1 |
| --- | --- | --- | --- | --- |
|  | Define the anaerobic digestion method. | 2M | CO-2 | BL–1 |
|  | What is meant by smart grid penetration of renewables? | 2M | CO-2 | BL–2 |
|  | Mention two differences between Battery Electric Vehicle and Hybrid Electric Vehicle. | 2M | CO-3 | BL–1 |
|  | Define life cycle cost analysis. | 2M | CO-4 | BL–1 |

PART-B					5X10=50M

| UNIT-1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Explain the concept of sustainability and its significance in modern energy systems. | 5M | CO-1 | BL-2 |
|  | - Discuss the importance of Bureau of Energy Efficiency (BEE) in promoting sustainable practices. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Explain about present Indian and Global scenarios of sustainable energy. | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |
| 3. | Explain the working principle and advantages of solar thermal power generation with neat schematic. | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4. | Compare biomass power generation and hydrogen fuel cell systems in terms of efficiency, sustainability, and applications. | 10M | CO-2 | BL-3 |
| UNIT-III |  |  |  |  |
| 5. | Explain energy storage technologies and their role in integrating renewable energy sources. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 6. | - Describe waste-to-value added materials concept. | 5M | CO-2 | BL-2 |
|  | - Discuss the capture, storage, and utilization of CO₂ to ensure a cyclic carbon economy. | 5M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7. | - Explain Grid-to-Vehicle (G2V) and Vehicle-to-Grid (V2G) technologies. | 6M | CO-3 | BL-2 |
|  | - Discuss the role of EVs in reducing greenhouse gas emissions. | 4M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 8. | Explain the structure, operation, and advantages of Hybrid Electric Vehicles (HEVs). | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | - Define payback period and accounting rate of return. | 4M | CO-4 | BL-2 |
|  | - Explain IRR (Internal Rate of Return) method with a suitable example with 2 projects. | 6M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 10 | Discuss the objectives and importance of energy management in achieving climate protection and resource conservation. | 10M | CO-4 | BL-2 |

***