| Subject Code 22OE1EE303 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular/Supplementary Examinations, December 2025

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                                 		    Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | Classify energy sources. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define solar constant. | 2M | CO-2 | BL-1 |
|  | List any two factors affecting the distribution of wind energy on the surface of earth. | 2M | CO-2 | BL-1 |
|  | Mention biomass conversion principles. | 2M | CO-3 | BL-1 |
|  | List any two non-electric energy storage methods. | 2M | CO-4 | BL-1 |

PART-B					5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | - Explain the trends in energy consumption in India and globally. | 5M | CO-1 | BL-3 |
|  | - Discuss the need for new energy sources for sustainable development. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2. | Compare conventional and renewable energy sources and their availability in India. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3. | - Classify the spectral power distribution of solar radiation according to wavelengths. | 5M | CO-2 | BL-4 |
|  | - Explain the working principle of a sunshine recorder with a neat sketch. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4. | - Draw and explain an equivalent circuit of a practical solar PV-cell. | 5M | CO-2 | BL-4 |
|  | - Explain the I-V characteristics of solar cell. | 5M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5. | - Explain the origin of winds and their classification. | 5M | CO-2 | BL-2 |
|  | - Describe the performance characteristics of wind turbines. | 5M | CO-2 | BL-4 |
| OR |  |  |  |  |
| 6. | Describe the construction and working of Vertical Axis Wind Turbine (VAWT) with neat sketch. | 10M | CO-2 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7. | - Explain the principle of anaerobic digestion process. | 5M | CO-3 | BL-2 |
|  | - Discuss the combustion characteristics of biogas. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 8. | Describe any two types of biogas digesters. | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |
| 9. | Elaborate any two technologies available for OTEC plants. | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 10. | Discuss the principle and working of lead-acid battery and compressed air energy storage system. | 10M | CO-4 | BL-3 |

***