| Subject Code 22PE1EE301 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year I Semester Regular/Supplementary Examinations, December, 2025

UTILIZATION OF ELECTRICAL ENERGY

(EEE)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | Draw the symbol of fuse and write its importance. | 2M | CO1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define space-to-height ratio. | 2M | CO2 | BL-1 |
|  | List the applications of dielectric heating. | 2M | CO3 | BL-1 |
|  | Classify electric welding process. | 2M | CO4 | BL-2 |
|  | List the factors affecting specific energy consumption. | 2M | CO5 | BL-1 |

PART-B					5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Describe the function of different LT wiring components used in residential and commercial installations. | 5M | CO-1 | BL-2 |
|  | - Explain the factors affecting the selection of electrical cables for LT installations. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | - What is meant by electric shock and what are the safety practices to be considered to prevent from electric shock. | 5M | CO-1 | BL-2 |
|  | - Explain the operating principle of contactor with neat sketch. | 5M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | - State and explain the inverse square law and Lambert’s cosine law of illumination. | 5M | CO-2 | BL-2 |
|  | - Explain the design considerations for an indoor lighting scheme with respect to uniformity, glare reduction, and aesthetic appeal. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4 | - Explain the operation of LED lamp with neat sketch. | 5M | CO-2 | BL-2 |
|  | - Compare between tungsten filament lamps and fluorescent lamps. | 5M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5 | - Explain the principle, construction, and working of resistance heating with neat diagrams. | 5M | CO-3 | BL-2 |
|  | - Explain the steps involved in designing a resistance heating element for an electric oven or furnace. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 6 | - A certain electric furnace takes 10 kW of electrical input and produces 8.5 kW of useful heat output. Calculate its efficiency and power factor if the current drawn is 45 A at 230 V. | 5M | CO-3 | BL-3 |
|  | - Explain coreless induction furnaces with neat sketch. | 5M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |
| 7 | - Explain the importance of electrical welding in modern manufacturing and fabrication industries. | 5M | CO-4 | BL-2 |
|  | - Discuss about equipment used in electric welding process. | 5M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 8 | - Discuss the advantages and disadvantages of using A.C. and D.C. supply in arc welding. | 5M | CO-4 | BL-2 |
|  | - Explain the butt welding process with neat sketch. | 5M | CO-4 | BL-2 |
| UNIT-V |  |  |  |  |
| 9 | - Define electric traction. Explain the principle and advantages of electric traction over other forms of traction. | 5M | CO-5 | BL-2 |
|  | - Define tractive effort and explain the factors affecting the tractive effort in electric traction. | 5M | CO-5 | BL-2 |
| OR |  |  |  |  |
| 10 | An electric vain weighing 200 tonnes run a uniform upgradient of 1% with the following speed time curve - Uniform acceleration of 2 kmphps for 30 seconds - Constant speed for 40 seconds - Coasting for 30 seconds - Braking at 2.5 kmphps to rest - Stop at station 15 seconds. If the tractive resistance is 40 N/tonne, rotational inertia effect 10% of dead weight and overall efficiency of transmission and motor is 75%. Determine i) Schedule speed ii) Distance travel between two stations iii) Specific energy consumption. | 10M | CO-5 | BL-3 |

***