| Subject Code 22OE1EE303 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year I Semester Regular Examinations, December 2025

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                                 			      Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A					5X2=10M

|  | What do you mean by trends in energy consumption? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Draw the spectral power distribution of solar radiation? | 2M | CO-2 | BL-3 |
|  | Differentiate between HAWT and VAWT. | 2M | CO-2 | BL-4 |
|  | Discuss the combustion characteristics of biogas? | 2M | CO-3 | BL-2 |
|  | What is pumped energy storage? | 2M | CO-4 | BL-1 |

PART–B					5X10=50M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | - Describe the renewable energy sources based on availability. | 5M | CO-1 | BL-2 |
|  | - Compare renewable and conventional energy in terms of cost, reliability, and pollution. | 5M | CO-1 | BL-4 |
| OR |  |  |  |  |  |
| 2. | - Explain the need for sustainable energy development with suitable scenarios. | 5M | CO-1 | BL-2 |
|  | - Discuss the challenges in meeting India’s future energy demands. | 5M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |  |
| 3. | - Illustrate the I–V and P–V characteristics of a PV module and discuss influencing factors. | 7M | CO-2 | BL-3 |
|  | - Compare thin-film and amorphous solar cells in terms of efficiency, cost, and life. | 3M | CO-2 | BL-4 |
| OR |  |  |  |  |  |
| 4. | - Explain terrestrial and extra-terrestrial radiations with a neat sketch. | 5M | CO-2 | BL-2 |
|  | - Explain the working of pyro heliometer for measuring solar radiation. | 5M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |  |
| 5. | - Discuss the factors that influence the distribution of wind energy. | 5M | CO-2 | BL-2 |
|  | - Describe the construction and operation of HAWT with neat diagram. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 6. | - Describe VAWT construction and list advantages/disadvantages. | 5M | CO-2 | BL-2 |
|  | - Analyze the limitations of wind energy utilization in India. | 5M | CO-2 | BL-4 |
| UNIT-IV |  |  |  |  |  |
| 7. | - Discuss aerobic digestion and compare with anaerobic digestion. | 5M | CO-3 | BL-2 |
|  | - Explain utilization of biogas for cooking and power generation. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |  |
| 8. | - What are the economic aspects of biomass-based energy systems? | 5M | CO-3 | BL-1 |
|  | - What are the environmental impacts of biomass energy production? | 5M | CO-3 | BL-1 |
| UNIT-V |  |  |  |  |  |
| 9. | - Explain geothermal resources and describe methods of harnessing geothermal energy. | 5M | CO-3 | BL-2 |
|  | - Describe the working principles and setting of OTEC plants. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |  |
| 10. | - Discuss wave energy and the various wave energy conversion devices. | 5M | CO-3 | BL-2 |
|  | - Explain compressed air storage with diagrams. | 5M | CO-4 | BL-2 |

***