| Subject Code 22PE1EE409 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2026

ENERGY AUDITING AND CONSERVATION

(EEE)

Time: 3 hours                                                                        			 	Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | List any two energy conservation schemes implemented in India. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define cost index. | 2M | CO-2 | BL-1 |
|  | State causes of low power factor. | 2M | CO-3 | BL-1 |
|  | What are conventional motor starters? | 2M | CO-4 | BL-1 |
|  | Mention the applications of data logger. | 2M | CO-5 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Discuss the need for reforms in the energy sector. | 5M | CO-1 | BL-2 |
|  | - Explain the importance of energy conservation in modern industries. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Explain in detail the role and responsibilities of energy manager. | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |
| 3 | - Explain the concept and need for an energy audit. | 5M | CO-2 | BL-2 |
|  | - Discuss the energy conservation schemes used in industries. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4 | Analyze the role of energy auditing in reducing energy losses in power systems. | 10M | CO-2 | BL-4 |
| UNIT-III |  |  |  |  |
| 5 | - Discuss the benefits of power factor improvement. | 5M | CO-3 | BL-3 |
|  | - Explain the concept of electricity billing and tariff structure. | 5M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6 | Discuss the concept and objectives of Demand Side Management (DSM) | 10M | CO-3 | BL-1 |
| UNIT-IV |  |  |  |  |
| 7 | - Explain the working and applications of soft starters. | 5M | CO-4 | BL-2 |
|  | - Discuss about variable speed drive. | 5M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 8 | Discuss the energy efficiency improvements in transformers using amorphous core technology. | 10M | CO-4 | BL-4 |
| UNIT-V |  |  |  |  |
| 9 | Write short notes on thermocouples and pyrometers. | 10M | CO-5 | BL-2 |
| OR |  |  |  |  |
| 10 | Illustrate the important points to be considered for good lighting design and practice. | 10M | CO-5 | BL-2 |

****