| Subject Code 22PE1EE404 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech IV Year II Semester Regular Examinations, May 2026

HVDC TRANSMISSION

(EEE)

Time: 3 hours                                                                          		 	Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | What is the role of an inverter in HVDC transmission? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Why are LCC converters called naturally commutated converters? | 2M | CO-2 | BL-2 |
|  | Why is controlled starting required in HVDC systems? | 2M | CO-2 | BL-2 |
|  | Define power flow control in MTDC systems. | 2M | CO-3 | BL-1 |
|  | Define insulation coordination? | 2M | CO-4 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Explain the back-to-back HVDC system and discuss its applications in power system interconnection? | 5M | CO-1 | BL-2 |
|  | - Discuss the need for HVDC transmission in modern power systems. | 5M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Explain the main components of an HVDC transmission system with their functions? | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | Explain the operation of HVDC converters as rectifier and inverter with suitable circuit diagrams and waveforms. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4 | Explain the operation and analysis of a three-phase Graetz bridge converter without overlap with neat circuit diagram and waveforms. | 10M | CO-2 | BL-4 |
| UNIT-III |  |  |  |  |
| 5 | Explain the hierarchical control architecture of an HVDC transmission system with the help of a suitable block diagram. | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 6 | Discuss the importance of converter control characteristics in maintaining stable HVDC system operation. | 10M | CO-2 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7 | Discuss current control methods in MTDC networks | 10M | CO-3 | BL-3 |
| OR |  |  |  |  |
| 8 | Discuss voltage control methods in MTDC networks | 10M | CO-3 | BL-4 |
| UNIT-V |  |  |  |  |
| 9 | Describe the design and operation of passive AC filters with suitable diagrams. | 10M | CO-4 | BL-4 |
| OR |  |  |  |  |
| 10 | Explain the working principle, and advantages of surge arresters in HVDC systems? | 10M | CO-4 | BL-3 |

****