| Subject Code 22PE1EI409 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2026

POLLUTION CONTROL IN PROCESS INDUSTRIES

(EIE)

Time: 3 hours                                                                        				Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A				5X2=10M

|  | Define industrial pollution and mention one preventive strategy. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What is particle size distribution? Why is it important in control device selection? | 2M | CO-2 | BL-2 |
|  | Write short notes on ammonia plant effluents in process industries. | 2M | CO-3 | BL-1 |
|  | Mention two techniques used for monitoring NOx emissions. | 2M | CO-4 | BL-2 |
|  | List two pollutants from petrochemical industries. | 2M | CO-1 | BL-1 |

PART- B				5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | - Explain industrial emissions (gaseous and liquid) and their environmental impacts. | 5M | CO-1 | BL-2 |
|  | - Discuss Indian water quality management system and relevant discharge standards. | 5M | CO-1 | BL-3 |
| OR |  |  |  |  |
| 2 | Explain different types of pollution occurred due to industrial emissions. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |
| 3 | - Describe methods of industrial wastewater analysis. | 5M | CO-2 | BL-2 |
|  | - A wastewater sample has initial DO = 9 mg/L and DO after 5 days = 3 mg/L.Calculate BOD₅ of the sample. | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4 | Describe water quality regulations and standards for analysis of pollutants. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |
| 5 | - Explain biological oxidation process for BOD removal. | 5M | CO-2 | BL-2 |
|  | - Design a treatment scheme for removal of chromium fron lime coagulation and adsorption method. | 5M | CO-4 | BL-4 |
| OR |  |  |  |  |
| 6 | Explain the control and removal methods of NOx emissions in industries. Include analysis of at least two control techniques. | 10M | CO-2 | BL-4 |
| UNIT-IV |  |  |  |  |
| 7 | - Discuss pollution control aspects in ammonia plants. | 5M | CO-3 | BL-2 |
|  | - Analyze effluent treatment practices in phosphoric acid plants. | 5M | CO-3 | BL-4 |
| OR |  |  |  |  |
| 8 | Design a pollution control strategy for a complex fertilizer plant considering air and water pollution. | 10M | CO-4 | BL-4 |
| UNIT-V |  |  |  |  |
| 9 | - Explain characteristics of petroleum refinery effluents. | 5M | CO-2 | BL-2 |
|  | - A refinery discharges 500 m³/day wastewater with COD = 800 mg/L. Calculate total COD load per day. | 5M | CO-4 | BL-3 |
| OR |  |  |  |  |
| 10 | Discuss liquid waste treatment methods in petrochemical industries and air pollution control methods in pulp & paper industries. | 10M | CO-4 | BL-2 |

****