| Subject Code 22OE1CE302 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular and Supplementary Examinations, May 2026

GREEN BUILDING TECHNOLOGY

(Open Elective)

Time: 3 hours                                                                         			Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A					5X2=10M

|  | State any four key requisites for constructing a green building. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | What are low-VOC materials? Why are they preferred in green buildings? | 2M | CO-2 | BL-2 |
|  | Define thermal comfort and mention any two factors affecting it. | 2M | CO-3 | BL-2 |
|  | Define Active and Passive Solar Systems. | 2M | CO-3 | BL-1 |
|  | List out various green product certifications. | 2M | CO-4 | BL-1 |

PART-B				           5X10=50M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | - Explain the concept of sustainable development in the context of green buildings. | 5M | CO-1 | BL-2 |
|  | - A building consumes 18,000 kWh of electricity annually. If 1 kWh electricity emits 0.82 kg CO₂, calculate: i) Annual carbon emission ii) Carbon emission per square meter if building area = 200 m² | 5M | CO-1 | BL-3 |
| OR |  |  |  |  |  |
| 2. | Explain in detail various environmental, economic, and social benefits associated with Green Buildings. | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |  |
| 3. | - Discuss the use of fly ash and GGBS as partial cement replacements in concrete. | 5M | CO-2 | BL-2 |
|  | - A concrete mix requires 450 kg cement per m³. If 30% cement is replaced with fly ash, calculate: i) Cement required ii) Fly ash required per m³ | 5M | CO-2 | BL-3 |
| OR |  |  |  |  |  |
| 4. | Explain various sustainable building materials such as engineered wood, mycelium and natural fibers and their applications in green buildings. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |  |
| 5. | - Explain factors affecting thermal comfort in buildings. | 5M | CO-3 | BL-2 |
|  | - A wall of area 15 m² and thickness 0.2 m has thermal conductivity 1.5 W/mK. If inside temperature is 32°C and outside temperature is 24°C, calculate heat transfer rate. (Use Q = kAΔT / L) | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
| 6. | Explain the importance of Indoor Environmental Quality (IEQ) and methods to improve energy efficiency through lighting and ventilation. | 10M | CO-3 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | - Describe the working of a greywater plumbing system. | 5M | CO-3 | BL-2 |
|  | - A 6 kW rooftop solar system generates 24 kWh/day. If building demand is 40 kWh/day, calculate percentage of demand met by solar energy. | 5M | CO-3 | BL-3 |
| OR |  |  |  |  |  |
| 8. | Explain IoT integrated automated building systems and passive solar techniques used in green building construction. | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |  |
| 9. | - Explain the concept of Carbon Credit and its role in emission reduction. | 5M | CO-4 | BL-2 |
|  | - A project reduces 200 tonnes of CO₂ annually. If 1 carbon credit = 1 tonne CO₂ and price = ₹850 per credit, calculate annual revenue. | 5M | CO-4 | BL-3 |
| OR |  |  |  |  |  |
| 10. | Explain major green building rating systems and their significance. | 10M | CO-4 | BL-2 |

****