| Subject Code 22OE1EE303 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. III Year II Semester Regular and Supplementary Examinations, May 2026

TRENDS IN ENERGY SOURCES FOR SUSTAINABLE DEVELOPMENT

(Open Elective)

Time: 3 hours                                                                         			Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART-A				5X2=10M

|  | List the environmental effects caused by conventional energy sources. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Define a photovoltaic (PV) cell and list different types of solar cells | 2M | CO-2 | BL-1 |
|  | Define wind energy and list the origin of winds, including global and local winds. | 2M | CO-2 | BL-1 |
|  | Define combustion characteristics of biogas and list its applications. | 2M | CO-3 | BL-1 |
|  | Define OTEC and list its principles and thermodynamic cycles. | 2M | CO-4 | BL-1 |

PART-B				5X10=50M

| UNIT-I |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | - Explain the trends in energy consumption and describe the role of conventional and renewable energy sources. | 5M | CO-1 | BL-2 |
|  | - Explain different energy sources and describe their availability and limitations | 5M | CO-1 | BL-1 |
| OR |  |  |  |  |  |
| 2. | Explain the need for alternative and renewable energy technologies for sustainable development, and describe their advantages in terms of environmental impact, resource sustainability, and energy security. | 10M | CO-1 | BL-2 |
| UNIT-II |  |  |  |  |  |
| 3. | - Explain the working principles of instruments used for measuring solar radiation and describe the operation of a sunshine recorder. | 5M | CO-2 | BL-2 |
|  | - Explain the key concepts of solar radiation, including its intensity, distribution, and variation on the Earth’s surface. | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 4. | Explain the equivalent electrical circuit of a PV cell and describe the concepts of open-circuit voltage and short-circuit current. | 10M | CO-2 | BL-2 |
| UNIT-III |  |  |  |  |  |
| 5. | - Explain the Betz criterion and its significance in wind energy conversion. | 5M | CO-2 | BL-2 |
|  | - (i) Explain two advantages of wind energy with horizontal axis wind turbine. ii. Explain the expression used to calculate wind power for a given wind speed and define all the terms involved. iii. Explain the procedure to calculate the power available in the wind for speeds of 5 m/s and 15 m/s, assuming air density ρ=1.225kg/m 3 . | 5M | CO-2 | BL-2 |
| OR |  |  |  |  |  |
| 6. | Explain a typical wind turbine power curve and identify the four regions of operation. ii. Explain the block diagram of a typical Wind Energy Conversion System (WECS) and describe its main components. iii. Explain any two control strategies used in WECS and highlight their differences. | 10M | CO-2 | BL-2 |
| UNIT-IV |  |  |  |  |  |
| 7. | - Explain the basic concepts of Combustion characteristics of biogas | 5M | CO-3 | BL-2 |
|  | - A community biogas plant in a village is producing less gas than expected due to operational issues. - Examine the key factors affecting biogas production and identify two significant factors. - Differentiate and analyze how temperature and feeding rate influence the efficiency of a biogas plant. | 5M | CO-3 | BL-4 |
| OR |  |  |  |  |  |
| 8. | A community biogas plant is used to meet the energy needs of a village with 250 adults (4 persons per family). - Explain the purpose of a community biogas plant. - Explain how to estimate the biogas requirement for the people of the village. - Explain the method to determine the size of the digester and the number of cows required for the plant, considering that each family uses two 150 CP lamps for 5 hours in the evening and using the given data where necessary. | 10M | CO-3 | BL-2 |
| UNIT-V |  |  |  |  |  |
| 9. | - Tidal energy can be harnessed using different basin arrangements to generate electricity. i) Explain how power is generated in a single-basin, single-effect scheme and state one limitation. ii. Explain the working of a two-basin, linked-basin scheme and how it helps in achieving more uniform power output. | 5M | CO-3 | BL-2 |
|  | - Explain the principle and working of the Compressed Air Storage energy storage systems. | 5M | CO-4 | BL-2 |
| OR |  |  |  |  |  |
| 10. | Compare the Lead-acid batteries and Nickel-Cadmium batteries in terms of positive electrode, negative electrode, electrolyte, life cycle and environmental issue. | 10M | CO-4 | BL-4 |

****