| Subject Code 22OE1EE402 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2026

ENERGY MANAGEMENT AND CONSERVATION

(Open-Elective-IV)

Time: 3 hours                                                                        			 	Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | State the objectives of conducting an energy audit. | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | List the principles of Energy Management. | 2M | CO-2 | BL-1 |
|  | What is slip in an induction motor? | 2M | CO-3 | BL-1 |
|  | What is power density in lighting systems? | 2M | CO-4 | BL-2 |
|  | What is Return on Investment? | 2M | CO-5 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Discuss the significance of energy index and cost index in energy management. | 10M | CO-1 | BL-4 |
| OR |  |  |  |  |
| 2 | Discuss various energy conservation schemes applicable to industries. | 10M | CO-1 | BL-4 |
| UNIT-II |  |  |  |  |
| 3 | Discuss the steps involved in organizing an Energy Management Program | 10M | CO-2 | BL-3 |
| OR |  |  |  |  |
| 4 | Analyze the importance of energy planning and control in industrial energy systems. | 10M | CO-2 | BL-4 |
| UNIT-III |  |  |  |  |
| 5 | Explain the factors affecting motor efficiency such as power supply quality, voltage unbalance, and loading conditions. | 10M | CO-3 | BL-4 |
| OR |  |  |  |  |
| 6 | Describe the concept, need and working principle of Variable Frequency Drive with neat block diagram. | 10M | CO-3 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7 | Describe the Zonal Cavity Method for indoor lighting calculations with necessary equations. | 10M | CO-4 | BL-4 |
| OR |  |  |  |  |
| 8 | Discuss various energy efficient lighting technologies and compare their performance. | 10M | CO-4 | BL-3 |
| UNIT-V |  |  |  |  |
| 9 | Explain various methods of depreciation with suitable formulas and examples. | 10M | CO-5 | BL-4 |
| OR |  |  |  |  |
| 10 | Describe Straight Line Method and Sinking Fund Method of depreciation. Compare their advantages and limitations. | 10M | CO-5 | BL-4 |

****