| Subject Code 22PE1EE406 |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

VNR VIGNANA JYOTHI INSTITUTE OF ENGINEERING AND TECHNOLOGY

(AUTONOMOUS)

B.Tech. IV Year II Semester Regular Examinations, May 2026

INTEGRATION AND CONTROL OF RENEWABLE ENERGY TECHNOLOGIES

(EEE)

Time: 3 hours                                                                          		 	Max. Marks: 60

Answer ALL questions in PART-A.

Answer any ONE question from each unit in PART-B.

PART–A 				             5X2=10M

|  | What are power quality issues in grid systems? | 2M | CO-1 | BL-1 |
| --- | --- | --- | --- | --- |
|  | Classify the static generation technologies. | 2M | CO-2 | BL-2 |
|  | What is a wind energy conversion system (WECS)? | 2M | CO-3 | BL-1 |
|  | List modulation techniques used in grid connected systems. | 2M | CO-4 | BL-1 |
|  | What is the role of synchro converters in renewable energy integration? | 2M | CO-4 | BL-1 |

PART- B 				           5X10=50M

| UNIT-I |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Explain the basic structure of an electric power grid and its components. | 10M | CO-1 | BL-2 |
| OR |  |  |  |  |
| 2 | Explain the challenges associated with integrating renewable energy sources into the electric grid and discuss possible solutions. | 10M | CO-1 | BL-3 |
| UNIT-II |  |  |  |  |
| 3 | Explain the principle and operation of a fuel cell. | 10M | CO-2 | BL-2 |
| OR |  |  |  |  |
| 4 | Explain the control strategy used in single-phase grid-connected photovoltaic systems for efficient power delivery. | 10M | CO-2 | BL-3 |
| UNIT-III |  |  |  |  |
| 5 | Explain the principle of operation of a reciprocating engine used for power generation. | 10M | CO-3 | BL-2 |
| OR |  |  |  |  |
| 6 | Analyze the operation and control of a grid-connected wind energy system for stable grid integration. | 10M | CO-3 | BL-3 |
| UNIT-IV |  |  |  |  |
| 7 | Explain the working principle of Phase Locked Loop (PLL) with necessary diagrams. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 8 | Explain the load frequency and voltage control strategies used in renewable energy integrated power systems. | 10M | CO-4 | BL-3 |
| UNIT-V |  |  |  |  |
| 9 | Discuss the grid interfacing requirements for renewable energy systems. | 10M | CO-4 | BL-2 |
| OR |  |  |  |  |
| 10 | Distinguish the distributed versus centralized controllers in renewable energy systems. | 10M | CO-4 | BL-4 |

****